## Summary
Battery Energy Storage Summary Based on August 2026 GIS Report
NOTES:
This table includes Large Generator Battery projects that have requested Full Interconnection Studies. It also includes Small Generator projects (less than 10 MW) that have completed the Resource Registration process as indicated by assignment of a "Model Ready Date". The report excludes Small Generator projects that are not included in the Resource Integration and Ongoing Operations Interconnection Services (RIOO-IS) System.
For co-located projects, this table only reflects capacity of the Battery systems.
This report includes battery energy storage systems defined as Self-Limiting Facilities (SLFs), where the MW capacities are reported as zero to reflect projects for which the battery system is sized to be less than the total nameplate capacity of all registered generators at the facility. Other generators at the facility typically include one or more inverter-based resources, such as solar.
This report excludes technology types that are not battery energy storage.
Project Type | Number of Storage Projects | MW of Storage | % of Total Storage MW
Stand-Alone Battery Energy Storage | 584 | 114058.63 | 0.71592
Battery Energy Storage+Solar | 288 | 43075.68 | 0.27038
Battery Energy Storage+Wind | 10 | 1400.37 | 0.0087898
Battery Energy Storage+Other Tech | 2 | 782.99 | 0.0049146
Total (with FIS Requested) | 884 | 159317.67 | 1

## Co-located with Solar
Battery Energy Storage Projects Co-Located with Solar Projects Based on the August 2026 GIS Report
NOTES:
This table includes Large Generator Battery projects that have requested Full Interconnection Studies. It also includes Small Generator projects that have completed Resource Registration form as indicated by assignment of a "Model Ready Date".
For the purposes of this report the Battery Energy Storage project is considered co-located with Solar project if there are new or existing Solar projects at the same POI, with similar project name and same Interconnecting Entity (or same parent or holding company).
The projects are listed in alphabetical order.
Gray-highlighted cells indicate that the information is not applicable because the project is operational.
INR | Project Name | Project Status | Interconnecting Entity | POI Location | County | CDR Reporting Zone | Projected COD | Fuel | Technology | Capacity (MW) | IA Signed |  | Approved for Energization | Approved for Synchronization | Comment
Financial Security
and Notice to
Proceed Provided
29INR0107 | 7L Solar SLF | Planned | 7L Solar, LLC | Tap 69kV 5870 Brundage - 5868 Big Wells | Dimmit | SOUTH | 2029-11-13 | SOL | PV | 71.6 |  | No
29INR0108 | 7L Storage SLF | Planned | 7L Solar, LLC | Tap 69kV 5870 Brundage - 5868 Big Wells | Dimmit | SOUTH | 2029-11-13 | OTH | BA | 0 |  | No
26INR0388 | Aggie Solar Project SLF | Planned | reNRG TX 8 LLC | POI: COYOTE SPRINGS SUBSTATION - 138KV BUS NUMBER : 38113 COUNTY : REEVES POI LOCATION: 31.396675, -103.6252777 | Reeves | WEST | 2027-11-30 | SOL | PV | 103.7 |  | No
| Big Elm Solar | Operational |  | 345kV #3404 Belfalls Switch | Bell | NORTH |  | SOL | PV | 201.02
| Corazon Storage | Operational |  | 80219 Lobo Substation 345kV | Webb | SOUTH |  | OTH | BA | 204.8
| East Blackland Solar | Operational |  | tap 138kV 7336 Gillie - 3650 Elgin | Travis | SOUTH |  | SOL | PV | 144
| Frye Solar | Operational |  | Kress sub KRSSW 23913 345 kV | Swisher | PANHANDLE |  | SOL | PV | 502
| Grizzly Ridge Solar | Operational |  | 69kV 178 Pottsville | Hamilton | NORTH |  | SOL | PV | 101.68
| Jaguar BESS_1 | Operational |  | Tap 345kV 13405 Tradinghouse SES - 68090 Sam Switch | McLennan | NORTH |  | OTH | BA | 157.1
| Leon Solar Park | Operational | Misae Solar IV LLC | Tap 138kV Grapeland Magnolia Tap (bus #3355) to Pleasant Springs POI (bus# 3357) section of the Jewett -Crockett 138kV Line | Leon | NORTH |  | SOL | PV | 210.11 | 2024-05-21 | Yes | 2026-05-13
| Long Point Solar | Operational |  | 138 KV (CEHE Sub) Tap Burke (42410) - Eagle Nest (42430) ckt 02 | Brazoria | COASTAL |  | SOL | PV | 120.7
| Mercury II Solar SLF | Operational |  | 68092 Liberty Station 345kV | Hill | NORTH |  | SOL | PV | 206.11
| Mercury Solar SLF | Operational |  | 68092 Liberty Station 345kV | Hill | NORTH |  | SOL | PV | 206.11
| Morrow Lake Solar | Operational |  | Morrow Lake Switch 138kV (5896) | Frio | SOUTH |  | SOL | PV | 201.1
| Orange Grove Solar | Operational |  | 5660 Orange Grove 138kV | Jim Wells | SOUTH |  | SOL | PV | 130.6
| Outpost Solar | Operational |  | Tap 345kV 80219 Lobo - 5709 Fowlerton | Webb | SOUTH |  | SOL | PV | 517.3
| Peregrine Solar | Operational |  | tap 345kV 8624 Grissom – 8164 Coleto Creek | Goliad | SOUTH |  | SOL | PV | 301.3

## Stand-Alone
Stand-Alone Battery Storage Projects Based on the August 2026 GIS Report
NOTES:
This table includes Large Generator Battery projects that have requested Full Interconnection Studies. It also includes Small Generator projects that have completed Resource Registration form as indicated by assignment of a "Model Ready Date".
For the purposes of this report, the Battery Energy Storage project is considered stand-alone if there is no other project located at the same POI, with similar project name and same Interconnecting Entity (or same parent or holding company).
The projects are listed in alphabetical order.
Gray-highlighted cells indicate that the information is not applicable because the project is operational.
INR | Project Name | Project Status | Interconnecting Entity | POI Location | County | CDR Reporting Zone | Projected COD | Fuel | Technology | Capacity (MW) | IA Signed |  | Approved for Energization | Approved for Synchronization | Comment
Financial Security
and Notice to
Proceed Provided
28INR0328 | 18-ALPHA BESS | Planned | SCOUT ENERGY MANAGEMENT, LLC | To the 138 kV Valley View Substation, ( Bus No.691) | Cooke | NORTH | 2028-02-01 | OTH | BA | 307.4 |  | No
28INR0327 | 18-BRAVO BESS | Planned | Scout Energy Management, LLC | 138 kV Commerce Switch Substation. Bus no. #1816 | Hunt | NORTH | 2028-02-01 | OTH | BA | 407 |  | No

## Co-located Operational
Operational Co-located Projects as of August 31, 2026
NOTES:
Projects in the table are all operational co-located facilities approved by ERCOT. These include co-located facilities approved for synchronization to the ERCOT grid but not approved for full commercial operations.
For the purposes of this report, the Battery Energy Storage project is considered co-located with wind, solar or thermal generation projects if the projects are at the same POI, with similar project name and same Resource Entity (or same parent or holding company).
The projects are listed in alphabetical order by Project Name.
Unit Name | Unit Code | County | CDR Reporting Zone | In Service | Fuel | Technology | Capacity (MW)*
ANCHOR BESS U1 | ANCHOR_BESS1 | EASTLAND | NORTH | 2022 | OTH | BA | 35.2
ANCHOR BESS U2 | ANCHOR_BESS2 | EASTLAND | NORTH | 2022 | OTH | BA | 36.3
ANCHOR WIND | ANCHOR_WIND2 | EASTLAND | NORTH | 2022 | WIN | WT | 98.9
* Capacity (MW) is the unit rating.