## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2026-09-08 00:00:00 | 1899-12-31 11:55:09

## Demand
Demand for 2026
Net System Maximum Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2026 Demand, MW | 75586.7534 | 69618.1297 | 66539.7675 | 74614.1494 | 77822.0986 | 82795.8982 | Jul: 91133.7277; Aug: 90816.8565 | 91133.7277
Date | 01/26/2026 | 02/01/2026 | 03/25/2026 | 04/27/2026 | 05/29/2026 | 06/18/2026 | Jul: 07/22/2026; Aug: 08/24/2026
Hour ending | 09:00 | 08:00 | 18:00 | 17:00 | 18:00 | 17:00 | Jul: 18:00; Aug: 18:00
Day of the week | Monday | Sunday | Wednesday | Monday | Friday | Thursday | Jul: Wednesday; Aug: Monday
Forecasted Demand, MW | 77386.694 | 75804.823 | 69042.09 | 69841.308 | 84668.248 | 90946.866 | 92783.588 | 94650.257 | 89746.938 | 81778.607 | 73417.342 | 80898.905 | 94650.257
Difference, percent | -0.023259 | -0.081613 | -0.036243 | 0.068338 | -0.080859 | -0.089623 | Jul: -0.017782; Aug: -0.040501 | -0.037153
2025 Demand, MW | 77482.4949 | 80560.4619 | 62924.1706 | 65617.1007 | 78399.1439 | 77395.9676 | 81733.6465 | 83706.8357 | 79949.0894 | 75903.8943 | 64731.6709 | 63172.4491 | 83706.8357
Date | 01/22/2025 | 02/20/2025 | 03/25/2025 | 04/14/2025 | 05/23/2025 | 06/19/2025 | 07/30/2025 | 08/18/2025 | 09/04/2025 | 10/02/2025 | 11/17/2025 | 12/15/2025
Hour ending | 08:00 | 08:00 | 18:00 | 18:00 | 17:00 | 17:00 | 18:00 | 18:00 | 18:00 | 17:00 | 16:00 | 08:00
Day of the week | Wednesday | Thursday | Tuesday | Monday | Friday | Thursday | Wednesday | Monday | Thursday | Thursday | Monday | Monday
Increase, MW | -1895.7415 | -10942.3322 | 3615.5968 | 8997.0487 | -577.0452 | 5399.9307 | Jul: 9400.0812; Aug: 7110.0209
Increase, percent | -0.024467 | -0.13583 | 0.05746 | 0.13711 | -0.00736 | 0.06977 | Jul: 0.11501; Aug: 0.08494
Max All Time, MW | 78349.2062 | 80560.4619 | 66539.7675 | 74614.1494 | 78399.1439 | 82795.8982 | 91133.7277 | 90816.8565 | 84470.1018 | 75903.8943 | 64731.6709 | 74524.9021
Date | 01/16/2024 at 08:00 | 02/20/2025 at 08:00 | 03/25/2026 at 18:00 | 04/27/2026 at 17:00 | 05/23/2025 at 17:00 | 06/18/2026 at 17:00 | 07/22/2026 at 18:00 | 08/24/2026 at 18:00 | 09/08/2023 at 17:00 | 10/02/2025 at 17:00 | 11/17/2025 at 16:00 | 12/23/2022 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2026 Demand, MW | 75883.2446 | 69988.3622 | 66597.1164 | 74932.3942 | 78008.2609 | 82901.6711 | Jul: 91262.7142; Aug: 91055.107 | 91262.7142
Date | 01/26/2026 | 02/01/2026 | 03/25/2026 | 04/27/2026 | 05/29/2026 | 06/18/2026 | Jul: 07/22/2026; Aug: 08/24/2026
Interval ending | 08:15 | 08:15 | 17:45 | 17:00 | 16:45 | 17:00 | Jul: 17:30; Aug: 17:00
Day of the week | Monday | Sunday | Wednesday | Monday | Friday | Thursday | Jul: Wednesday; Aug: Monday
Max All Time, MW | 78531.9136 | 80880.4173 | 66597.1164 | 74932.3942 | 78611.2416 | 82901.6711 | 91262.7142 | 91055.107 | 84540.2922 | 76048.8219 | 64873.8833 | 74628.9366
Date | 01/16/2024 at 07:45 | 02/20/2025 at 07:30 | 03/25/2026 at 17:45 | 04/27/2026 at 17:00 | 05/23/2025 at 16:45 | 06/18/2026 at 17:00 | 07/22/2026 at 17:30 | 08/24/2026 at 17:00 | 09/08/2023 at 16:45 | 10/02/2025 at 16:45 | 11/17/2025 at 15:45 | 12/23/2022 at 08:00
Net System Minimum Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul | Aug | Sep | Oct | Nov | Dec
2026 Demand, MW | 40703.2612 | 40062.2792 | 40720.7527 | 39567.2151 | 40594.7612 | 47395.427 | Jul: 51411.6514; Aug: 53601.9781
Date | 01/02/2026 | 02/09/2026 | 03/14/2026 | 04/20/2026 | 05/02/2026 | 06/03/2026 | Jul: 07/15/2026; Aug: 08/02/2026
Interval ending | 03:30 | 03:00 | 04:00 | 03:45 | 03:30 | 04:00 | Jul: 04:00; Aug: 07:15
Day of the week | Friday | Monday | Saturday | Monday | Saturday | Wednesday | Jul: Wednesday; Aug: Sunday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2026
Net Energy for Load
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2026 Energy, MWh | 39814967.6246 | 33155641.8983 | 37958881.3025 | 37906690.6258 | 41873337.115 | 47279018.244 | Jul: 51549575.8928; Aug: 54417915.8046 | 343956028.5078
2026 YTD Energy, MWh | 39814967.6246 | 72970609.5229 | 110929490.8255 | 148836181.4513 | 190709518.5663 | 237988536.8103 | Jul: 289535827.6561; Aug: 343956028.5078
Forecasted Energy, MWh | 43548753.803 | 38960357.921 | 40836274.625 | 40241136.454 | 45703772.651 | 51267581.851 | 54922802.555 | 55610852.992 | 48960630.428 | 46183559.997 | 43022697.199 | 48863001.613 | 558121422.089
Difference, percent | -0.085738 | -0.14899 | -0.070462 | -0.058011 | -0.08381 | -0.077799 | Jul: -0.061418; Aug: -0.021452 | -0.073123
YTD Forecasted Energy, MWh | 43548753.803 | 82509111.724 | 123345386.349 | 163586522.803 | 209290295.454 | 260557877.305 | 315480679.86 | 371091532.852 | 420052163.28 | 466235723.277 | 509258420.476 | 558121422.089
YTD Difference, percent | -0.085738 | -0.1156 | -0.10066 | -0.090168 | -0.08878 | -0.086619 | Jul: -0.082239; Aug: -0.073123
2025 Energy, MWh | 40486228.3787 | 34700518.5486 | 34718582.3846 | 36505713.9284 | 41212437.3019 | 45166832.3011 | 47846335.8723 | 49413440.9131 | 43977057.6189 | 40985750.8379 | 35560556.4008 | 37833024.3758 | 488406478.862
Increase, MWh | -671260.7541 | -1544876.6502 | 3240298.9179 | 1400976.6975 | 660899.8131 | 2112185.9429 | Jul: 3703240.0205; Aug: 5004474.8915 | 13905938.8792
Increase, percent | -0.01658 | -0.04452 | 0.09333 | 0.038377 | 0.016036 | 0.046764 | Jul: 0.077399; Aug: 0.10128 | 0.042133
2025 YTD Energy, MWh | 40486228.3787 | 75186746.9272 | 109905329.3118 | 146411043.2402 | 187623480.542 | 232790312.8432 | 280636648.7155 | 330050089.6286 | 374027147.2475 | 415012898.0854 | 450573454.4862 | 488406478.862
Increase, MWh | -671260.7541 | -2216137.4043 | 1024161.5137 | 2425138.2111 | 3086038.0243 | 5198223.9671 | Jul: 8899178.9406; Aug: 13905938.8792
Increase, percent | -0.01658 | -0.029475 | 0.009319 | 0.016564 | 0.016448 | 0.02233 | Jul: 0.031711; Aug: 0.042133
Net System Load Factors based on Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Demand Factors 2026 | 0.70799 | 0.70871 | 0.76779 | 0.70561 | 0.7232 | 0.7931 | Jul: 0.76028; Aug: 0.80538 | 0.64726
Demand Factors 2025 | 0.70231 | 0.64098 | 0.7426 | 0.7727 | 0.70655 | 0.81053 | 0.78682 | 0.79344 | 0.76398 | 0.72576 | 0.76193 | 0.80495 | 0.66607
Net System Load Factors based on 15-Minute Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Demand Factors 2026 | 0.70522 | 0.70496 | 0.76713 | 0.70261 | 0.72148 | 0.79209 | Jul: 0.75921; Aug: 0.80328 | 0.64635
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2026
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2583.8998 | 2124.7231 | 2119.6718 | 2379.9025 | 2407.282 | 2770.9368 | Jul: 3055.3908; Aug: 2945.041
LZ_CPS | 5190.2548 | 4212.7908 | 4153.3372 | 4340.8113 | 4644.4443 | 5425.8122 | Jul: 5663.9612; Aug: 5487.3624
LZ_HOUSTON | 15929.5773 | 14739.8482 | 16021.4155 | 18573.5717 | 19848.5356 | 21332.6727 | Jul: 22887.3969; Aug: 22292.7117
LZ_LCRA | 4140.7749 | 3546.1799 | 2672.6438 | 3001.9282 | 3106.0541 | 3614.0543 | Jul: 3923.0928; Aug: 3879.9764
LZ_NORTH | 27907.4869 | 24408.4699 | 20302.9006 | 24614.675 | 24414.7714 | 27132.5963 | Jul: 31530.0038; Aug: 31977.7917
LZ_RAYBN | 1670.7694 | 1367.0909 | 839.6188 | 1065.4269 | 1125.3293 | 1231.2393 | Jul: 1558.2194; Aug: 1603.5103
LZ_SOUTH | 10938.8643 | 9577.6029 | 9287.9294 | 9740.1167 | 10828.0343 | 11023.0705 | Jul: 11825.1773; Aug: 11616.7581
LZ_WEST | 7521.6172 | 10011.6564 | 11199.5993 | 11215.9618 | 11633.8098 | 10371.289 | Jul: 10819.4721; Aug: 11251.9554
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2590.9247 | 2133.8894 | 2126.1035 | 2393.1522 | 2539.0618 | 2812.1492 | Jul: 3057.4626; Aug: 3041.1016
Date and Time | 26 @ 08:00 | 1 @ 08:00 | 25 @ 18:00 | 27 @ 17:30 | 19 @ 17:00 | 18 @ 18:30 | Jul: 22 @ 17:45; Aug: 27 @ 16:00
LZ_CPS | 5226.8386 | 4229.8674 | 4154.8412 | 4703.0265 | 4741.37 | 5557.578 | Jul: 5712.3557; Aug: 5848.218
Date and Time | 26 @ 08:00 | 1 @ 08:00 | 25 @ 18:00 | 28 @ 18:15 | 19 @ 17:30 | 18 @ 18:00 | Jul: 22 @ 18:45; Aug: 21 @ 17:30
LZ_HOUSTON | 16345.2057 | 15178.6936 | 16626.6885 | 19421.2989 | 19854.2253 | 21643.9642 | Jul: 22907.666; Aug: 23107.5852
Date and Time | 26 @ 10:15 | 27 @ 16:00 | 27 @ 17:30 | 28 @ 16:30 | 29 @ 17:00 | 18 @ 15:45 | Jul: 22 @ 17:00; Aug: 26 @ 16:30
LZ_LCRA | 4173.4725 | 3582.1727 | 2679.5921 | 3026.4948 | 3222.612 | 3757.4998 | Jul: 3924.9947; Aug: 4102.2547
Date and Time | 26 @ 07:45 | 1 @ 07:45 | 25 @ 18:00 | 27 @ 17:30 | 19 @ 17:00 | 18 @ 18:30 | Jul: 22 @ 18:00; Aug: 22 @ 17:15
LZ_NORTH | 27907.4869 | 24417.2701 | 20642.0117 | 24614.675 | 25388.3637 | 28039.9794 | Jul: 31625.137; Aug: 31977.7917
Date and Time | 26 @ 08:15 | 1 @ 07:45 | 26 @ 17:45 | 27 @ 17:00 | 31 @ 17:45 | 29 @ 18:30 | Jul: 22 @ 17:00; Aug: 24 @ 17:00
LZ_RAYBN | 1692.683 | 1382.1789 | 970.4627 | 1082.9227 | 1274.337 | 1351.3229 | Jul: 1568.3107; Aug: 1675.0057
Date and Time | 25 @ 09:45 | 1 @ 08:00 | 17 @ 07:30 | 27 @ 18:00 | 31 @ 17:45 | 29 @ 18:15 | Jul: 21 @ 18:15; Aug: 23 @ 18:00
LZ_SOUTH | 11147.8341 | 9577.6029 | 9647.0447 | 10182.9184 | 10835.472 | 11364.117 | Jul: 12068.5215; Aug: 12340.5903
Date and Time | 27 @ 07:30 | 1 @ 08:15 | 15 @ 17:45 | 28 @ 17:00 | 29 @ 16:30 | 18 @ 19:45 | Jul: 30 @ 16:30; Aug: 27 @ 15:45
LZ_WEST | 11152.2966 | 11116.0965 | 11267.7803 | 11225.7352 | 11895.9875 | 12163.22 | Jul: 12494.255; Aug: 12543.76
Date and Time | 17 @ 18:30 | 28 @ 17:00 | 21 @ 17:00 | 27 @ 17:30 | 31 @ 15:15 | 21 @ 17:15 | Jul: 24 @ 15:45; Aug: 21 @ 14:30
Net Energy for Load, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 1157898.3799 | 957251.4298 | 1129252.1088 | 1142005.196 | 1256924.5716 | 1456166.7053 | Jul: 1581565.2737; Aug: 1690335.9037
LZ_CPS | 2138124.4129 | 1732357.0099 | 2028522.6249 | 2077608.9157 | 2316930.7848 | 2714210.017 | Jul: 2934212.9665; Aug: 3171669.9114
LZ_HOUSTON | 8967096.0541 | 7860279.2677 | 9355830.4216 | 9522486.1902 | 10568490.2339 | 11782727.4866 | Jul: 12555713.4638; Aug: 13063730.4383
LZ_LCRA | 1538726.1444 | 1176289.9057 | 1339968.8283 | 1356423.5904 | 1512494.192 | 1821230.47 | Jul: 1993434.7612; Aug: 2158212.9729
LZ_NORTH | 12666900.8441 | 9700587.8867 | 10838524.428 | 10909088.1737 | 12171786.5125 | 14709756.6928 | Jul: 16646682.1555; Aug: 17830895.4904
LZ_RAYBN | 610577.5377 | 399060.9985 | 423377.0488 | 421239.2664 | 502066.9163 | 648338.6372 | Jul: 755346.6243; Aug: 856155.4327
LZ_SOUTH | 5302681.2769 | 4598423.6255 | 5428917.0861 | 5415814.5784 | 6047666.7457 | 6549796.1852 | Jul: 7021655.6999; Aug: 7318420.8163
LZ_WEST | 7432962.9745 | 6731391.7745 | 7414488.756 | 7062024.715 | 7496977.1582 | 7596792.0499 | Jul: 8060964.9479; Aug: 8328494.8389
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2026
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 17117.4602 | 15816.1058 | 16895.1457 | 19579.3807 | 21013.5844 | 22496.9857 | Jul: 24059.5225; Aug: 23452.475
EAST | 3235.0043 | 2893.6752 | 2180.9578 | 2416.0299 | 2679.4445 | 2832.9102 | Jul: 3220.8202; Aug: 3192.828
FWEST | 4628.8543 | 6922.5146 | 8132.5625 | 8193.3379 | 8461.7013 | 7157.0763 | Jul: 7351.378; Aug: 7490.3541
NCENT | 25921.1872 | 22441.6379 | 18605.9737 | 22859.1779 | 22422.3131 | 25109.5928 | Jul: 29345.5938; Aug: 29864.333
NORTH | 1891.2251 | 2231.0754 | 1999.6957 | 1895.2922 | 2018.9758 | 1798.0607 | Jul: 2197.8817; Aug: 2305.9639
SCENT | 14212.3192 | 12472.1014 | 11391.983 | 12239.6756 | 12956.0335 | 14057.8409 | Jul: 15639.9531; Aug: 15242.9266
SOUTH | 6533.0265 | 5178.2525 | 5479.2372 | 5663.7499 | 6281.029 | 6894.3935 | Jul: 6950.8136; Aug: 6828.4021
WEST | 2344.1678 | 2032.9993 | 1911.5608 | 2085.7501 | 2175.1793 | 2554.811 | Jul: 2496.7513; Aug: 2677.8243
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 17545.4232 | 16117.1804 | 17514.9171 | 20536.5409 | 21020.6861 | 22804.7522 | Jul: 24094.415; Aug: 24280.4033
Date and Time | 26 @ 10:15 | 27 @ 16:00 | 27 @ 17:30 | 28 @ 16:30 | 29 @ 17:00 | 18 @ 15:45 | Jul: 22 @ 17:00; Aug: 26 @ 16:30
EAST | 3236.38 | 2897.4255 | 2432.2611 | 2460.3833 | 2736.7591 | 2961.0493 | Jul: 3337.5264; Aug: 3339.8561
Date and Time | 26 @ 07:45 | 1 @ 07:45 | 17 @ 07:00 | 27 @ 16:45 | 29 @ 15:30 | 22 @ 18:30 | Jul: 22 @ 15:00; Aug: 31 @ 17:00
FWEST | 8310.0117 | 8371.186 | 8288.8479 | 8217.1463 | 8551.3857 | 8656.3264 | Jul: 8730.6522; Aug: 8621.2536
Date and Time | 16 @ 23:00 | 28 @ 17:00 | 3 @ 15:45 | 27 @ 17:30 | 31 @ 15:15 | 16 @ 16:30 | Jul: 24 @ 15:45; Aug: 22 @ 14:00
NCENT | 26047.732 | 22462.9055 | 18907.3318 | 22859.1779 | 23594.387 | 26073.5293 | Jul: 29405.5663; Aug: 29864.333
Date and Time | 25 @ 09:30 | 1 @ 07:45 | 26 @ 17:45 | 27 @ 17:00 | 31 @ 17:45 | 29 @ 18:30 | Jul: 22 @ 17:00; Aug: 24 @ 17:00
NORTH | 2414.5447 | 2245.1815 | 2053.9058 | 1923.3767 | 2270.4567 | 2287.8592 | Jul: 2435.4648; Aug: 2534.0121
Date and Time | 31 @ 08:30 | 1 @ 08:30 | 26 @ 18:00 | 24 @ 17:45 | 31 @ 17:45 | 17 @ 15:00 | Jul: 31 @ 16:00; Aug: 25 @ 15:30
SCENT | 14353.9568 | 12514.6623 | 11432.2438 | 12351.5536 | 13270.3261 | 14574.6622 | Jul: 15718.8859; Aug: 15972.2564
Date and Time | 27 @ 07:45 | 1 @ 08:00 | 25 @ 18:00 | 27 @ 17:30 | 19 @ 17:30 | 18 @ 19:45 | Jul: 22 @ 18:45; Aug: 27 @ 15:45
SOUTH | 6534.6951 | 5528.7448 | 6002.9187 | 6040.3566 | 6552.9437 | 7041.8411 | Jul: 7094.8157; Aug: 7319.3102
Date and Time | 26 @ 08:30 | 26 @ 16:30 | 15 @ 17:45 | 28 @ 17:00 | 6 @ 17:30 | 18 @ 14:30 | Jul: 30 @ 15:45; Aug: 27 @ 15:45
WEST | 2358.9196 | 2036.1392 | 1935.1467 | 2087.836 | 2183.3933 | 2578.9978 | Jul: 2738.0778; Aug: 2892.6563
Date and Time | 26 @ 07:45 | 1 @ 08:00 | 22 @ 18:15 | 27 @ 17:15 | 31 @ 17:15 | 18 @ 16:30 | Jul: 31 @ 18:15; Aug: 21 @ 16:45
Net Zone Energy, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 9561521.0081 | 8383381.0488 | 9909124.3884 | 10094263.9124 | 11213330.5048 | 12480111.3055 | Jul: 13267559.3142; Aug: 13791826.0602
EAST | 1440721.7703 | 1081060.0673 | 1196758.8199 | 1190657.6118 | 1336788.6537 | 1562748.9022 | Jul: 1695331.392; Aug: 1812488.9516
FWEST | 5510275.2624 | 5115997.6533 | 5630335.2364 | 5387988.2946 | 5679830.0794 | 5532108.4755 | Jul: 5806616.8867; Aug: 5869452.4968
NCENT | 11595448.4019 | 8829092.415 | 9865040.4929 | 9940968.3461 | 11113991.718 | 13535868.6639 | Jul: 15407938.7752; Aug: 16557152.6188
NORTH | 1333610.5268 | 1093955.6333 | 1162451.2888 | 1048797.7012 | 1148135.3461 | 1255643.7896 | Jul: 1353958.2766; Aug: 1424685.4066
SCENT | 6249852.1531 | 5097017.8769 | 5923378.7335 | 5996487.6324 | 6621517.9457 | 7649699.8994 | Jul: 8300039.3995; Aug: 8916025.7434
SOUTH | 2977769.1906 | 2623113.008 | 3210394.2255 | 3185937.7482 | 3600162.785 | 3865296.4268 | Jul: 4172639.4117; Aug: 4321246.08
WEST | 1145769.3113 | 932024.1959 | 1061398.1172 | 1061589.3791 | 1159580.0824 | 1397540.781 | Jul: 1545492.4369; Aug: 1725038.4473
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.