## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Updates | List of files and items updated in each file
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
LoadZones | Monthly peak demand and energy data for this year by load zone
WeatherZones | Monthly peak demand and energy data for this year by weather zone
EnergybyFuelType | Actual energy and percentages by fuel type
EnergybyFuelChart | Stacked chart of MWh by fuel type by month
EnergyComparisons | Bar graphs comparing this year's energy with last year's and with forecasted
DemandComparison | Graphs comparing this year's monthly peaks with last year's and with forecasted

## Demand
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND FOR 2016
Updated 3/7/2017
NET SYSTEM MAXIMUM HOURLY DEMAND
Description | Jan** | Feb** | Mar** | Apr** | May** | Jun** | Jul** | Aug*** | Sep*** | Oct*** | Nov*** | Dec*** | Annual
2016 Demand, MW | 49262.5579 | 47416.4923 | 43347.1873 | 50932.0834 | 57223.8273 | 64896.2601 | 67468.9318 | 71110.1039 | 66948.5662 | 59864.268 | 50012.3511 | 57932.4325 | 71110.1039
Date | 2016-01-11 00:00:00 | 2016-02-04 00:00:00 | 2016-03-31 00:00:00 | 2016-04-25 00:00:00 | 2016-05-10 00:00:00 | 2016-06-15 00:00:00 | 2016-07-14 00:00:00 | 2016-08-11 00:00:00 | 2016-09-19 00:00:00 | 2016-10-05 00:00:00 | 2016-11-02 00:00:00 | 2016-12-19 00:00:00
Hour Ending | 08:00 | 08:00 | 18:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 16:00 | 08:00
Day of Week | Monday | Thursday | Thursday | Monday | Tuesday | Wednesday | Thursday | Thursday | Monday | Wednesday | Wednesday | Monday
Forecasted Demand, MW | 57691 | 56550 | 45965 | 49607 | 63158 | 63325 | 66802 | 70588 | 59636 | 54437 | 49799 | 51092 | 70588
Difference, percent | -0.1461 | -0.16151 | -0.056952 | 0.026712 | -0.093958 | 0.024813 | 0.0099837 | 0.0073965 | 0.12262 | 0.099698 | 0.0042842 | 0.13388 | 0.0073965
2015 Demand, MW | 56831.7803 | 54539.4251 | 53179.5284 | 45227.4211 | 53389.3965 | 61732.2719 | 67650.277 | 69877.0467 | 64458.1963 | 59186.5655 | 44945.1434 | 44934.2488 | 69877.0467
Date | 2015-01-08 00:00:00 | 2015-02-23 00:00:00 | 2015-03-06 00:00:00 | 2015-04-09 00:00:00 | 2015-05-18 00:00:00 | 2015-06-10 00:00:00 | 2015-07-30 00:00:00 | 2015-08-10 00:00:00 | 2015-09-08 00:00:00 | 2015-10-12 00:00:00 | 2015-11-05 00:00:00 | 2015-12-28 00:00:00
Hour Ending | 08:00 | 19:00 | 07:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 19:00 | 19:00
Day of Week | Thursday | Monday | Friday | Thursday | Monday | Wednesday | Thursday | Monday | Tuesday | Monday | Thursday | Monday
Increase, MW | -7569.2224 | -7122.9328 | -9832.3411 | 5704.6623 | 3834.4307 | 3163.9883 | -181.3452 | 1233.0572 | 2490.3699 | 677.7025 | 5067.2077 | 12998.1837
Increase, percent | -0.13319 | -0.1306 | -0.18489 | 0.12613 | 0.07182 | 0.051253 | -0.0026806 | 0.017646 | 0.038635 | 0.01145 | 0.11274 | 0.28927
Max All Time | 57256.3073 | 57265 | 54587.4097 | 51800 | 58947 | 66548 | 67650.277 | 71110.1039 | 66948.5662 | 59864.268 | 50807 | 57932.4325
Date | 1/7/2014 at 0800 | 2/10/2011 at 0800 | 3/3/2014 at 0800 | 4/18/2006 at 1700 | 5/29/2012 at 1700 | 6/26/2012 at 1700 | 7/30/2015 at 1700 | 8/11/2016 at 1700 | 9/19/2016 at 1700 | 10/5/2016 at 1700 | 11/17/2014 at 0715 | 12/19/2016 at 0800
NET SYSTEM MAXIMUM DEMAND BASED ON 15-MINUTE INTERVALS
Description | Jan** | Feb** | Mar** | Apr** | May** | Jun** | Jul** | Aug** | Sep** | Oct** | Nov** | Dec** | Annual
2016 Demand, MW | 49735.9609 | 48047.9301 | 43531.9505 | 51146.3988 | 57386.7597 | 65001.2637 | 67517.8025 | 71150.3145 | 67070.857 | 59955.5331 | 50102.2599 | 58048.2808 | 71150.3145
Date | 2016-01-11 00:00:00 | 2016-02-04 00:00:00 | 2016-03-31 00:00:00 | 2016-04-25 00:00:00 | 2016-05-10 00:00:00 | 2016-06-15 00:00:00 | 2016-07-14 00:00:00 | 2016-08-11 00:00:00 | 2016-09-19 00:00:00 | 2016-10-05 00:00:00 | 2016-11-02 00:00:00 | 2016-12-19 00:00:00
Interval Ending | 07:15 | 07:15 | 17:00 | 17:00 | 17:00 | 17:00 | 16:30 | 16:30 | 16:00 | 16:30 | 16:00 | 07:30
Day of Week | Monday | Thursday | Thursday | Monday | Tuesday | Wednesday | Thursday | Thursday | Monday | Wednesday | Wednesday | Monday
Max All Time | 57812.739 | 57971 | 54660.2529 | 52024 | 59170 | 66577 | 67699.5589 | 71150.3145 | 67070.857 | 59955.5331 | 51272.8524 | 58048.2808
Date | 1/7/2014 at 0715 | 2/10/2011 at 0715 | 3/3/2014 at 0730 | 4/17/2006 at 1615 | 5/29/2012 at 1700 | 6/26/2012 at 1630 | 7/30/2015 at 1645 | 8/11/2016 at 1630 | 9/19/2016 at 1600 | 10/5/2015 at 16:30 | 11/17/2014 0800 | 12/19/2016 at 0730
NET SYSTEM MINIMUM DEMAND
Description | Jan** | Feb** | Mar** | Apr** | May** | Jun** | Jul** | Aug** | Sep** | Oct** | Nov** | Dec**
2016 Demand, MW | 25581.5717 | 25301.3582 | 25104.5958 | 25051.0635 | 25993.438 | 27873.0813 | 36194.4271 | 33364.768 | 27340.137 | 25529.9942 | 25449.4954 | 26948.5752
Date | 2016-01-31 00:00:00 | 2016-02-29 00:00:00 | 2016-03-27 00:00:00 | 2016-04-04 00:00:00 | 2016-05-04 00:00:00 | 2016-06-05 00:00:00 | 2016-07-10 00:00:00 | 2016-08-16 00:00:00 | 2016-09-30 00:00:00 | 2016-10-22 00:00:00 | 2016-11-14 00:00:00 | 2016-12-25 00:00:00
Interval Ending | 04:00 | 03:00 | 04:00 | 03:00 | 03:30 | 06:45 | 05:00 | 04:00 | 04:00 | 04:15 | 03:30 | 05:00
Day of Week | Sunday | Monday | Sunday | Monday | Wednesday | Sunday | Sunday | Tuesday | Friday | Saturday | Monday | Sunday
*Information for 2015 for this month has been updated based on final settlements.
**Information for 2016 for this month has been updated based on final settlements.
***Information for 2015 and 2016 for this month has been updated based on final settlements.

## Energy
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY FOR 2016
Updated 3/7/2017
NET ENERGY FOR LOAD
Description | Jan** | Feb** | Mar** | Apr** | May** | Jun** | Jul** | Aug*** | Sep*** | Oct*** | Nov*** | Dec*** | Annual
2016 Energy, MWh | 27538067.6263 | 23596332.7493 | 24330487.6448 | 25071982.0839 | 28542014.6632 | 33391884.6925 | 38228287.3874 | 36472771.8956 | 32954881.0451 | 29236415.011 | 24505422.8639 | 27690753.4979 | 351559301.161
2016 YTD Energy, MWh | 27538067.6263 | 51134400.3756 | 75464888.0204 | 100536870.1043 | 129078884.7675 | 162470769.4601 | 200699056.8475 | 237171828.7431 | 270126709.7882 | 299363124.7993 | 323868547.6631 | 351559301.161
Forecasted Energy, MWh | 29208228 | 25368106 | 25031240 | 25106994 | 31171493 | 32340493 | 36092091 | 36778009 | 29792149 | 27194314 | 24881681 | 27598630 | 350563428
Difference, percent | -0.057181 | -0.069843 | -0.027995 | -0.0013945 | -0.084355 | 0.03251 | 0.059187 | -0.0082994 | 0.10616 | 0.075093 | -0.015122 | 0.003338 | 0.0028408
YTD Forecasted Energy, MWh | 29208228 | 54576334 | 79607574 | 104714568 | 135886061 | 168226554 | 204318645 | 241096654 | 270888803 | 298083117 | 322964798 | 350563428
YTD Difference, percent | -0.057181 | -0.063066 | -0.052039 | -0.039896 | -0.050095 | -0.034214 | -0.017715 | -0.016279 | -0.0028133 | 0.0042941 | 0.0027983 | 0.0028408
2015 Energy, MWh | 28847439.0274 | 25114475.7802 | 25355022.1119 | 24606485.9577 | 27877499.8837 | 32356581.9996 | 36975136.0283 | 36965273.4935 | 32161486.8503 | 27495201.2209 | 24016700.9886 | 25846132.9 | 347617436.2422
Increase, MWh | -1309371.4011 | -1518143.0309 | -1024534.4671 | 465496.1262 | 664514.7795 | 1035302.6929 | 1253151.3591 | -492501.5979 | 793394.1948 | 1741213.7901 | 488721.8753 | 1844620.5978 | 3941864.9188
Increase, percent | -0.04539 | -0.060449 | -0.040408 | 0.018918 | 0.023837 | 0.031997 | 0.033892 | -0.013323 | 0.024669 | 0.063328 | 0.020349 | 0.071369 | 0.01134
2015 YTD Energy, MWh | 28847439.0274 | 53961914.8076 | 79316936.9196 | 103923422.8772 | 131800922.761 | 164157504.7606 | 201132640.7889 | 238097914.2824 | 270259401.1327 | 297754602.3536 | 321771303.3421 | 347617436.2422
YTD Increase, MWh | -1309371.4011 | -2827514.432 | -3852048.8991 | -3386552.7729 | -2722037.9934 | -1686735.3005 | -433583.9414 | -926085.5393 | -132691.3444 | 1608522.4457 | 2097244.321 | 3941864.9188
YTD Increase, percent | -0.04539 | -0.052398 | -0.048565 | -0.032587 | -0.020653 | -0.010275 | -0.0021557 | -0.0038895 | -0.00049098 | 0.0054022 | 0.0065178 | 0.01134
NET SYSTEM LOAD FACTORS BASED ON HOURLY DEMAND
Description | Jan** | Feb** | Mar** | Apr** | May** | Jun** | Jul** | Aug*** | Sep*** | Oct*** | Nov*** | Dec*** | Annual
2016 | 0.75135 | 0.74054 | 0.75443 | 0.6837 | 0.6704 | 0.71464 | 0.76157 | 0.68939 | 0.68367 | 0.65642 | 0.68054 | 0.64245 | 0.56437
2015 | 0.65977 | 0.64877 | 0.60792 | 0.68692 | 0.69828 | 0.73851 | 0.72771 | 0.72635 | 0.66803 | 0.63125 | 0.67392 | 0.72062 | 0.58412
NET SYSTEM LOAD FACTORS BASED ON 15-MINUTE DEMAND
Description | Jan** | Feb** | Mar** | Apr** | May** | Jun** | Jul** | Aug** | Sep** | Oct** | Nov** | Dec** | Annual
2016 | 0.7442 | 0.7308 | 0.75122 | 0.68083 | 0.6685 | 0.71349 | 0.76102 | 0.689 | 0.68242 | 0.65542 | 0.67932 | 0.64117 | 0.56405
*Information for 2015 for this month has been updated based on final settlements.
**Information for 2016 for this month has been updated based on final settlements.
***Information for 2015 and 2016 for this month has been updated based on final settlements.

## LoadZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY LOAD SETTLEMENT ZONE FOR 2016
[6 empty] | Updated | 2017-03-07 00:00:00
BASED ON 15-MINUTE INTERVALS
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 1793.9271 | 1735.957 | 1707.9333 | 2032.7832 | 2226.047 | 2487.2878 | 2554.6026 | 2667.8895 | 2600.7846 | 2260.5097 | 1973.9001 | 2127.4714
LZ_CPS | 3346.7344 | 3243.907 | 3147.2905 | 3925.6623 | 4130.6992 | 4580.3469 | 4789.8647 | 4916.2099 | 4641.2968 | 4182.7522 | 3514.5206 | 4011.4425
LZ_HOUSTON | 11818.6737 | 10949.0678 | 13432.8127 | 14328.3657 | 15253.1605 | 17856.6409 | 18172.311 | 18663.8455 | 17983.2131 | 16264.5999 | 13977.5264 | 12694.5424
LZ_LCRA | 2455.9999 | 2486.4616 | 1635.3813 | 2037.7751 | 2334.0611 | 2657.1678 | 2437.9016 | 2571.7642 | 2396.0471 | 2055.554 | 1678.6366 | 2609.2662
LZ_NORTH | 19137.3863 | 18701.8725 | 13425.1033 | 17637.1491 | 21435.6361 | 23895.6323 | 25059.7049 | 27243.5775 | 25308.7568 | 22053.9696 | 17512.7967 | 23267.1767
LZ_RAYBN | 685.2114 | 639.6509 | 303.3516 | 412.9863 | 559.3714 | 677.7888 | 724.4945 | 826.2644 | 745.2863 | 588.6411 | 418.3526 | 915.6686
LZ_SOUTH | 6434.2405 | 6109.3435 | 6506.1231 | 6783.9802 | 7141.5002 | 7999.6389 | 8656.8545 | 9188.32 | 8641.1873 | 8163.5094 | 7085.9756 | 7903.8158
LZ_WEST | 4063.7878 | 4181.6698 | 3373.9548 | 3987.6969 | 4306.2841 | 4846.7602 | 5122.0687 | 5072.4434 | 4754.2849 | 4385.9973 | 3940.5513 | 4518.8972
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 1798.0046 | 1735.957 | 1847.6707 | 2049.2623 | 2226.047 | 2499.7303 | 2686.2509 | 2764.9845 | 2600.7846 | 2273.5745 | 2030.7083 | 2128.0739
Date and time | 11 @ 07:30 | 4 @ 07:15 | 15 @ 17:00 | 25 @ 18:00 | 10 @ 17:00 | 28 @ 15:15 | 25 @ 17:00 | 12 @ 17:00 | 19 @ 16:00 | 5 @ 17:00 | 1 @ 17:00 | 19 @ 07:45
LZ_CPS | 3451.1869 | 3351.0213 | 3254.7395 | 3949.6913 | 4213.5854 | 4696.6577 | 4950.7985 | 5104.6067 | 4766.9203 | 4208.9157 | 3656.3017 | 4011.574
Date and time | 28 @ 07:15 | 5 @ 07:15 | 15 @ 17:30 | 25 @ 18:00 | 27 @ 16:00 | 15 @ 18:00 | 25 @ 16:30 | 12 @ 17:00 | 19 @ 18:00 | 5 @ 17:00 | 1 @ 17:00 | 19 @ 07:15
LZ_HOUSTON | 11996.5777 | 11377.1046 | 13432.8127 | 14673.1616 | 16610.7433 | 17979.7332 | 18343.2498 | 18925.0762 | 18005.6167 | 16494.8092 | 14031.9807 | 12783.3241
Date and time | 28 @ 07:15 | 5 @ 07:15 | 31 @ 17:00 | 29 @ 14:15 | 25 @ 16:15 | 16 @ 15:30 | 15 @ 16:30 | 9 @ 15:45 | 19 @ 15:30 | 18 @ 16:15 | 2 @ 15:00 | 19 @ 09:15
LZ_LCRA | 2512.9709 | 2486.4616 | 1944.2488 | 2074.8832 | 2353.5306 | 2762.6852 | 2501.5967 | 2664.5627 | 2420.6746 | 2072.0593 | 1705.9752 | 2615.8898
Date and time | 28 @ 07:30 | 4 @ 07:15 | 21 @ 07:30 | 25 @ 18:00 | 10 @ 16:45 | 18 @ 17:15 | 22 @ 17:30 | 12 @ 17:00 | 19 @ 17:00 | 5 @ 17:00 | 1 @ 17:30 | 19 @ 07:45
LZ_NORTH | 19137.3863 | 18701.8725 | 15872.0344 | 18055.65 | 21435.6361 | 24602.8732 | 25586.6606 | 27308.0932 | 25308.7568 | 22053.9696 | 17968.7621 | 23267.1767
Date and time | 11 @ 07:15 | 4 @ 07:15 | 21 @ 07:15 | 26 @ 17:00 | 10 @ 17:00 | 27 @ 16:30 | 22 @ 17:30 | 12 @ 15:00 | 19 @ 16:00 | 5 @ 16:30 | 1 @ 17:00 | 19 @ 07:30
LZ_RAYBN | 687.8811 | 640.8086 | 540.9903 | 456.5296 | 572.2632 | 730.0373 | 808.8326 | 838.5023 | 763.9558 | 599.9903 | 491.4275 | 915.6686
Date and time | 11 @ 07:00 | 4 @ 07:00 | 21 @ 07:15 | 26 @ 17:45 | 10 @ 18:00 | 18 @ 17:30 | 24 @ 17:30 | 11 @ 17:45 | 19 @ 17:15 | 5 @ 17:45 | 20 @ 08:00 | 19 @ 07:30
LZ_SOUTH | 7005.4707 | 6550.2734 | 6506.1231 | 6809.4891 | 7168.6695 | 8531.1721 | 8982.3331 | 9270.4797 | 8659.1897 | 8169.067 | 7209.3783 | 7903.8158
Date and time | 28 @ 07:15 | 5 @ 07:15 | 31 @ 17:00 | 27 @ 17:00 | 26 @ 15:30 | 30 @ 16:45 | 25 @ 16:00 | 12 @ 16:00 | 19 @ 16:30 | 5 @ 16:45 | 1 @ 16:45 | 19 @ 07:30
LZ_WEST | 4162.7294 | 4199.4 | 3670.4369 | 4006.8464 | 4524.8103 | 4880.548 | 5142.6609 | 5164.4635 | 4781.7384 | 4457.3651 | 4133.1717 | 4518.8972
Date and time | 27 @ 07:30 | 4 @ 07:30 | 21 @ 07:30 | 25 @ 16:45 | 25 @ 17:00 | 17 @ 16:45 | 13 @ 17:00 | 4 @ 16:00 | 9 @ 16:45 | 17 @ 16:30 | 1 @ 16:45 | 19 @ 07:30
NET ENERGY FOR LOAD, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Total
LZ_AEN | 1009328.2051 | 892060.2003 | 954739.4234 | 981755.6741 | 1106447.2619 | 1304692.7955 | 1475205.4625 | 1395615.6313 | 1291230.2327 | 1133061.0079 | 945687.4582 | 1029775.2525 | 13519598.6054
LZ_CPS | 1763901.0759 | 1513246.7238 | 1602233.5063 | 1670380.6509 | 1954872.1541 | 2294206.914 | 2632373.2171 | 2481427.1505 | 2266510.4082 | 1955941.6264 | 1597511.777 | 1762812.1247 | 23495417.3289
LZ_HOUSTON | 6967835.6189 | 6284111.0724 | 6824697.4038 | 7120962.2038 | 8220238.4893 | 9092554.8012 | 10319549.1952 | 9883417.9435 | 9107635.6252 | 8338860.203 | 6856663.3637 | 7146887.0778 | 96163412.9977
LZ_LCRA | 1171723.7086 | 932584.9037 | 911006.5198 | 923253.306 | 1072929.9098 | 1290108.3362 | 1294361.1308 | 1185635.8198 | 1070686.0365 | 904687.2911 | 737840.2249 | 939835.8873 | 12434653.0745
LZ_NORTH | 10223234.5767 | 8450918.4376 | 8301747.5067 | 8482217.8218 | 9596175.7913 | 12104812.8411 | 13932590.1345 | 13314277.1059 | 11763133.4789 | 9988803.8807 | 8348845.0954 | 10153955.4229 | 124660712.0934
LZ_RAYBN | 310353.2268 | 231607.6715 | 203887.2816 | 199755.2101 | 231243.3684 | 318914.5722 | 380395.9044 | 362867.2001 | 312556.7974 | 249424.5447 | 215249.4255 | 316904.392 | 3333159.5946
LZ_SOUTH | 3460987.768 | 2981313.1714 | 3169799.6436 | 3362107.979 | 3811299.1168 | 4254293.0582 | 5076320.1309 | 4893382.0834 | 4480562.3895 | 4082889.9987 | 3401861.4363 | 3622996.1379 | 46597812.914
LZ_WEST | 2630703.4461 | 2310490.5685 | 2362376.3597 | 2331549.2383 | 2548808.5716 | 2732301.374 | 3117492.2121 | 2956148.9612 | 2662566.0767 | 2582746.4585 | 2401764.0829 | 2717587.2028 | 31354534.5525
*Information for 2016 for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding.

## WeatherZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY WEATHER ZONE FOR 2016
[6 empty] | Updated | 2017-03-07 00:00:00
Based on 15-Minute Intervals
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
Coast | 12794.4779 | 11768.2843 | 14184.9323 | 15075.2494 | 16150.2885 | 18763.2404 | 19126.4349 | 19699.905 | 18929.0601 | 17164.4206 | 14866.6269 | 13689.3045
East | 1947.8118 | 1866.3407 | 1603.4859 | 1791.5498 | 1966.0778 | 2144.0195 | 2264.099 | 2452.5549 | 2296.9964 | 1988.9058 | 1703.0584 | 2109.7273
Far West | 2353.9155 | 2396.2662 | 2078.8303 | 2338.0403 | 2510.3951 | 2749.987 | 2866.6042 | 2847.7126 | 2660.3544 | 2549.073 | 2338.8563 | 2455.4699
North Central | 17595.1494 | 17219.7645 | 11958.5123 | 16035.907 | 19728.9634 | 22063.3329 | 23136.862 | 25187.4835 | 23358.7904 | 20318.7988 | 15978.765 | 21727.0612
North | 1053.3219 | 1069.4947 | 718.6652 | 945.9784 | 1082.3468 | 1292.6545 | 1381.9464 | 1393.4313 | 1340.5965 | 1145.9342 | 952.5365 | 1285.1227
South Central | 8467.5608 | 8312.0916 | 7293.1108 | 8944.5241 | 9746.99 | 10910.9613 | 11415.9853 | 11886.693 | 11243.7067 | 9998.3787 | 8390.2955 | 10259.2428
South | 4042.3965 | 3871.6796 | 4615.3253 | 4661.1566 | 4706.7649 | 5340.477 | 5452.7024 | 5788.1301 | 5509.3923 | 5278.8961 | 4584.4924 | 4712.7115
West | 1481.3272 | 1544.0085 | 1079.0885 | 1353.9931 | 1494.9332 | 1736.5911 | 1873.1683 | 1894.404 | 1731.9602 | 1511.1259 | 1287.6288 | 1809.6408
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
Coast | 12885.1462 | 12336.02 | 14184.9323 | 15457.3321 | 17495.1753 | 18901.0552 | 19331.3668 | 19945.4103 | 18948.8762 | 17382.4098 | 14921.3951 | 13776.7284
Date and time | 28 @ 07:15 | 5 @ 07:15 | 31 @ 17:00 | 29 @ 14:15 | 25 @ 16:15 | 16 @ 15:30 | 15 @ 16:30 | 9 @ 15:45 | 19 @ 15:30 | 5 @ 15:30 | 2 @ 15:00 | 19 @ 09:15
East | 1947.8118 | 1906.2752 | 1694.5941 | 1881.5296 | 1994.799 | 2303.2856 | 2434.9538 | 2526.4894 | 2344.8418 | 2024.8885 | 1786.5649 | 2163.9212
Date and time | 11 @ 07:15 | 5 @ 07:15 | 21 @ 07:15 | 26 @ 17:00 | 10 @ 16:30 | 27 @ 15:30 | 22 @ 15:15 | 10 @ 15:15 | 19 @ 17:30 | 18 @ 16:45 | 2 @ 17:15 | 19 @ 08:15
Far West | 2390.0304 | 2403.4191 | 2211.8262 | 2364.9724 | 2626.56 | 2780.8487 | 2932.871 | 2922.9799 | 2703.4713 | 2609.6329 | 2463.9338 | 2617.8829
Date and time | 12 @ 07:30 | 4 @ 07:30 | 30 @ 17:00 | 28 @ 17:00 | 25 @ 17:00 | 22 @ 17:00 | 12 @ 17:00 | 8 @ 15:30 | 9 @ 16:45 | 6 @ 16:45 | 1 @ 16:45 | 8 @ 18:45
North Central | 17623.9899 | 17219.7645 | 14566.4889 | 16354.8028 | 19728.9634 | 22750.7325 | 23625.9798 | 25232.4471 | 23358.7904 | 20318.7988 | 16501.9344 | 21727.0612
Date and time | 22 @ 07:30 | 4 @ 07:15 | 21 @ 07:30 | 26 @ 17:00 | 10 @ 17:00 | 27 @ 16:30 | 22 @ 17:00 | 12 @ 15:00 | 19 @ 16:00 | 5 @ 16:30 | 1 @ 16:45 | 19 @ 07:30
North | 1097.7742 | 1072.6835 | 916.6298 | 945.9784 | 1094.2998 | 1331.7821 | 1394.7073 | 1444.0627 | 1340.5965 | 1145.9342 | 976.2141 | 1285.1227
Date and time | 18 @ 07:45 | 4 @ 07:30 | 21 @ 07:30 | 25 @ 17:00 | 25 @ 16:45 | 22 @ 16:30 | 21 @ 16:30 | 3 @ 16:30 | 19 @ 16:00 | 5 @ 16:30 | 1 @ 16:30 | 19 @ 07:30
South Central | 8597.3861 | 8369.1852 | 7770.5222 | 9029.9275 | 9771.9597 | 11017.3702 | 11872.3713 | 12389.1401 | 11422.5749 | 10068.7769 | 8708.9901 | 10267.0465
Date and time | 28 @ 07:15 | 5 @ 07:30 | 15 @ 17:45 | 25 @ 18:00 | 10 @ 16:45 | 15 @ 18:00 | 25 @ 16:30 | 12 @ 17:00 | 19 @ 17:45 | 5 @ 17:00 | 1 @ 17:00 | 19 @ 07:45
South | 4697.6572 | 4177.6874 | 4615.3253 | 4715.0193 | 5165.3818 | 5388.1176 | 5621.3562 | 5805.2202 | 5509.3923 | 5278.8961 | 4671.5686 | 4736.0205
Date and time | 28 @ 07:15 | 5 @ 07:15 | 31 @ 17:00 | 27 @ 16:45 | 27 @ 16:00 | 17 @ 15:45 | 25 @ 15:45 | 11 @ 15:30 | 19 @ 16:00 | 5 @ 16:30 | 1 @ 16:30 | 19 @ 09:00
West | 1548.2536 | 1546.4758 | 1213.7305 | 1370.418 | 1520.535 | 1762.9047 | 1873.1683 | 1905.1486 | 1735.4044 | 1540.8447 | 1353.3275 | 1809.6408
Date and time | 4 @ 07:45 | 4 @ 07:30 | 21 @ 07:30 | 25 @ 17:30 | 26 @ 16:30 | 17 @ 16:45 | 14 @ 16:30 | 10 @ 16:45 | 19 @ 16:45 | 17 @ 17:00 | 1 @ 17:00 | 19 @ 07:30
NET ZONE ENERGY, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Coastal | 7519426.9741 | 6764717.2833 | 7298645.4842 | 7579057.5119 | 8753290.3134 | 9657592.3728 | 10952577.8975 | 10504016.2852 | 9678113.1192 | 8874361.4983 | 7338877.6344 | 7655199.4514 | 102575875.8259
East | 989501.844 | 845637.885 | 851836.7183 | 893946.9045 | 971665.2849 | 1154907.5689 | 1327329.3086 | 1264096.2762 | 1156326.7551 | 1001352.6552 | 847485.174 | 967992.0679 | 12272078.4427
Far West | 1566322.0352 | 1404188.8043 | 1449758.8399 | 1428683.5016 | 1558659.3997 | 1622293.6007 | 1816030.1631 | 1734629.0124 | 1587132.0404 | 1604313.4047 | 1501190.9602 | 1651087.8308 | 18924289.593
North Central | 9388039.5204 | 7710672.4049 | 7545909.0706 | 7679891.5933 | 8724974.9348 | 11081151.854 | 12779281.1492 | 12211122.9765 | 10744824.9277 | 9092497.9584 | 7597698.2291 | 9352938.1336 | 113909002.7525
North | 624558.1828 | 517590.1376 | 503211.3284 | 495999.4988 | 552719.5682 | 676869.1998 | 779301.5973 | 740985.167 | 647456.5287 | 568317.4369 | 506494.9686 | 618430.3959 | 7231934.0098
South Central | 4406709.6647 | 3749623.7884 | 3902848.4014 | 4023805.5385 | 4637224.9708 | 5518478.8935 | 6346394.1096 | 5943907.9704 | 5444336.6113 | 4724295.7138 | 3884975.7729 | 4410326.3792 | 56992927.8145
South | 2190504.2305 | 1890659.0235 | 2076194.7716 | 2267739.2888 | 2558774.9007 | 2791984.8493 | 3174885.9096 | 3103535.5412 | 2841968.9783 | 2602266.6935 | 2131539.1019 | 2192739.39 | 29822792.6788
West | 853005.1747 | 713243.4223 | 702083.0304 | 702858.2465 | 784705.2908 | 888606.3535 | 1052487.2525 | 970478.6668 | 854722.0845 | 769009.6502 | 697161.0228 | 842039.8491 | 9830400.0438
*Information for 2016 for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.