## Load-Resource Scenarios
Load-Resource Scenarios
(Scenario assumption details are provided below the Reserve Margin charts)
| Peak Load Hour: | Peak Load Hour: | Peak Load Hour: | Peak Load Hour: | Peak Load Hour: | Peak Net Load Hour: | Peak Net Load Hour: | Peak Net Load Hour: | Peak Net Load Hour: | Peak Net Load Hour:
| Summer | Summer | Summer | Summer | Summer | Summer | Summer | Summer | Summer | Summer
Table 1: Summer Load and Resource Scenarios | 2026 | 2027 | 2028 | 2029 | 2030 | 2026 | 2027 | 2028 | 2029 | 2030
Firm Peak Load -- ERCOT Adjusted, MW | 88639.0572 | 98134.645 | 115225.1453 | 122195.3033 | 132240.4599 | 75971.4696 | 85583.1988 | 102744.4289 | 109892.3506 | 120483.0097
Scenario 1: Base Case with Senate Bill 6 Large Load curtailment impact | 88639.0572 | 85444.4875 | 88149.9885 | 89298.0854 | 90955.4083 | 75971.4696 | 72893.0412 | 75669.2722 | 76995.1328 | 79197.9581
Scenario 2: Base Case with 25% decrease in Large Load + Senate Bill 6 Large Load curtailment impact | 88639.0572 | 84598.4994 | 86886.7471 | 87931.7962 | 89331.0068 | 75971.4696 | 72047.0531 | 74406.0307 | 75628.8436 | 77573.5565
Scenario 3: Base Case with TSP Provided Large Loads replacing ERCOT Adjusted Large Loads + Senate Bill 6 Large Load curtailment impact | 88639.0572 | 92580.7783 | 96279.2206 | 98960.8801 | 100347.7212 | 75971.4696 | 80029.3321 | 83798.5043 | 86657.9275 | 88590.271
Total Capacity -- Protocol Prescribed, MW | 104849.9853 | 109349.8485 | 113693.1969 | 115079.5937 | 115501.3246 | 91874.564 | 94582.065 | 96347.9852 | 97029.4109 | 97408.4109
Scenario 2: Includes all Texas Energy Fund projects (regardless of Planning Guide Sec. 6.9(1) milestone conditions) | 104849.9853 | 110678.3485 | 117298.0969 | 119124.4937 | 120622.5246 | 91874.564 | 95910.565 | 99952.8852 | 101074.3109 | 102529.6109
Scenario 3: One-year TEF project delays for those meeting Planning Guide Sec. 6.9(1) conditions (excluding "brownfield" sites) | 104013.9853 | 108806.0485 | 112597.1969 | 112683.5937 | 114405.3246 | 91038.564 | 94038.265 | 95251.9852 | 94633.4109 | 96312.4109
Reserve Margins (%)
Protocol-prescribed | 0.18289 | 0.11428 | -0.013295 | -0.058232 | -0.12658 | 0.20933 | 0.10515 | -0.062256 | -0.11705 | -0.19152
Scenario 1: Base Case with SB6 Large Load curtailment impact | 0.18289 | 0.27978 | 0.28977 | 0.28871 | 0.26987 | 0.20933 | 0.29755 | 0.27328 | 0.2602 | 0.22994
Scenario 2: High Reserve Margin Bookend with SB6 Large Load curtailment impact, lower Large Load growth, maximum TEF capacity | 0.18289 | 0.30828 | 0.35001 | 0.35474 | 0.35029 | 0.20933 | 0.33122 | 0.34334 | 0.33645 | 0.32171
Scenario 3: Low Reserve Margin Bookend with SB6 Large Load curtailment impact, higher Large Load growth, TEF capacity delays | 0.17346 | 0.17526 | 0.16949 | 0.13867 | 0.14009 | 0.19833 | 0.17505 | 0.13668 | 0.092034 | 0.087167
| Peak Load Hour: | Peak Load Hour: | Peak Load Hour: | Peak Load Hour: | Peak Load Hour: | Peak Net Load Hour: | Peak Net Load Hour: | Peak Net Load Hour: | Peak Net Load Hour: | Peak Net Load Hour:
| Winter | Winter | Winter | Winter | Winter | Winter | Winter | Winter | Winter | Winter
Table 2: Winter Load and Resource Scenarios | 2026/2027 | 2027/2028 | 2028/2029 | 2029/2030 | 2030/2031 | 2026/2027 | 2027/2028 | 2028/2029 | 2029/2030 | 2030/2031
Firm Peak Load -- ERCOT Adjusted, MW | 78123.5579 | 93575.1588 | 108443.2952 | 120024.7268 | 126838.966 | 73550.7342 | 89065.4059 | 103662.6622 | 114986.2895 | 121531.6218
Scenario 1: Base Case with Senate Bill 6 Large Load curtailment impact | 78123.5579 | 72587.6145 | 75546.0774 | 78739.6751 | 81419.6201 | 73550.7342 | 68077.8616 | 70765.4444 | 73701.2378 | 76112.2759
Scenario 2: Base Case with 25% decrease in Large Load + Senate Bill 6 Large Load curtailment impact | 78123.5579 | 71442.6494 | 74179.7882 | 77115.2736 | 79698.4911 | 73550.7342 | 66932.8964 | 69399.1552 | 72076.8363 | 74391.1469
Scenario 3: Base Case with TSP Provided Large Loads replacing ERCOT Adjusted Large Loads + Senate Bill 6 Large Load curtailment impact | 78123.5579 | 80072.3595 | 82021.4603 | 86682.0312 | 89915.8807 | 73550.7342 | 75562.6065 | 77240.8273 | 81643.5939 | 84608.5365
Total Capacity -- Protocol Prescribed, MW | 95388.422 | 97611.465 | 99491.5287 | 99292.4148 | 99707.4148 | 94656.7064 | 96825.468 | 98648.8855 | 98473.0339 | 98888.0339
Scenario 2: Includes all Texas Energy Fund projects (regardless of Planning Guide Sec. 6.9(1) milestone conditions) | 95388.422 | 99463.365 | 103549.4287 | 103350.3148 | 105392.6148 | 94656.7064 | 98677.368 | 102706.7855 | 102530.9339 | 104573.2339
Scenario 3: One-year TEF project delays for those meeting Planning Guide Sec. 6.9(1) conditions (excluding "brownfield" sites) | 94494.422 | 97033.665 | 96988.5287 | 98139.4148 | 98554.4148 | 93762.7064 | 96247.668 | 96145.8855 | 97320.0339 | 97735.0339
Reserve Margins (%)
Protocol-prescribed | 0.22099 | 0.043134 | -0.082548 | -0.17273 | -0.21391 | 0.28696 | 0.087128 | -0.048366 | -0.14361 | -0.18632
Scenario 1: Base Case with Senate Bill 6 Large Load curtailment impact | 0.22099 | 0.34474 | 0.31696 | 0.26102 | 0.22461 | 0.28696 | 0.42228 | 0.39403 | 0.33611 | 0.29924
Scenario 2: High Reserve Margin Bookend with SB6 Large Load curtailment impact, lower Large Load growth, maximum TEF capacity | 0.22099 | 0.39221 | 0.39593 | 0.34021 | 0.32239 | 0.28696 | 0.47427 | 0.47994 | 0.42252 | 0.40572
Scenario 3: Low Reserve Margin Bookend with SB6 Large Load curtailment impact, higher Large Load growth, TEF capacity delays | 0.20955 | 0.21182 | 0.18248 | 0.13218 | 0.096074 | 0.2748 | 0.27375 | 0.24475 | 0.19201 | 0.15514

## Seasonal Summary
Seasonal Summary
|  | Summer | Summer |  | Summer | Summer |  | Summer | Summer |  | Summer | Summer |  | Summer | Summer |  | Winter | Winter |  | Winter | Winter |  | Winter | Winter |  | Winter | Winter |  | Winter | Winter |  | Spring | Spring |  | Spring | Spring |  | Spring | Spring |  | Spring | Spring |  | Spring | Spring |  | Fall | Fall |  | Fall | Fall |  | Fall | Fall |  | Fall | Fall |  | Fall | Fall
|  | 2026 | 2026 |  | 2027 | 2027 |  | 2028 | 2028 |  | 2029 | 2029 |  | 2030 | 2030 |  | 2026/2027 | 2026/2027 |  | 2027/2028 | 2027/2028 |  | 2028/2029 | 2028/2029 |  | 2029/2030 | 2029/2030 |  | 2030/2031 | 2030/2031 |  | 2026 | 2026 |  | 2027 | 2027 |  | 2028 | 2028 |  | 2029 | 2029 |  | 2030 | 2030 |  | 2026 | 2026 |  | 2027 | 2027 |  | 2028 | 2028 |  | 2029 | 2029 |  | 2030 | 2030
|  | Peak Load Hour: | Peak Net Load Hour: | Difference [1] less [2] | Peak Load Hour: | Peak Net Load Hour: | Difference [4] less [5] | Peak Load Hour: | Peak Net Load Hour: | Difference [7] less [8] | Peak Load Hour: | Peak Net Load Hour: | Difference [10] less [11] | Peak Load Hour: | Peak Net Load Hour: | Difference [13] less [14] | Peak Load Hour: | Peak Net Load Hour: | Difference [16] less [17] | Peak Load Hour: | Peak Net Load Hour: | Difference [19] less [20] | Peak Load Hour: | Peak Net Load Hour: | Difference [22] less [23] | Peak Load Hour: | Peak Net Load Hour: | Difference [25] less [26] | Peak Load Hour: | Peak Net Load Hour: | Difference [28] less [29] | Peak Load Hour: | Peak Net Load Hour: | Difference [31] less [32] | Peak Load Hour: | Peak Net Load Hour: | Difference [34] less [35] | Peak Load Hour: | Peak Net Load Hour: | Difference [37] less [38] | Peak Load Hour: | Peak Net Load Hour: | Difference [40] less [41] | Peak Load Hour: | Peak Net Load Hour: | Difference [43] less [44] | Peak Load Hour: | Peak Net Load Hour: | Difference [46] less [47] | Peak Load Hour: | Peak Net Load Hour: | Difference [49] less [50] | Peak Load Hour: | Peak Net Load Hour: | Difference [52] less [53] | Peak Load Hour: | Peak Net Load Hour: | Difference [55] less [56] | Peak Load Hour: | Peak Net Load Hour: | Difference [58] less [59]
|  | 17 | 21 |  | 17 | 21 |  | 17 | 21 |  | 17 | 21 |  | 17 | 21 |  | 8 | 19 |  | 8 | 19 |  | 8 | 19 |  | 8 | 19 |  | 8 | 19 |  | 17 | 21 |  | 17 | 21 |  | 17 | 21 |  | 17 | 21 |  | 17 | 21 |  | 17 | 20 |  | 17 | 20 |  | 17 | 20 |  | 17 | 20 |  | 17 | 20
|  | [1] | [2] | [3] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [11] | [12] | [13] | [14] | [15] | [16] | [17] | [18] | [19] | [20] | [21] | [22] | [23] | [24] | [25] | [26] | [27] | [28] | [29] | [30] | [31] | [32] | [33] | [34] | [35] | [36] | [37] | [38] | [39] | [40] | [41] | [42] | [43] | [44] | [45] | [46] | [47] | [48] | [49] | [50] | [51] | [52] | [53] | [54] | [55] | [56] | [57] | [58] | [59] | [60]
Load Forecast and Adjustments, MW:
| Total Seasonal Load based on normal weather conditions* | 95419.4269 | 81472.4019 | 13947.025 | 105405.6678 | 91169.6665 | 14236.0013 | 123088.8561 | 108421.9199 | 14666.9362 | 130782.9635 | 115672.2792 | 15110.6843 | 141703.7055 | 126377.7875 | 15325.918 | 84057.2984 | 79506.1644 | 4551.134 | 99590.8913 | 95088.4066 | 4502.4847 | 114534.0674 | 109753.8203 | 4780.2471 | 126193.9904 | 121151.2639 | 5042.7265 | 133090.6559 | 127776.1584 | 5314.4976 | 81930.2985 | 65991.5714 | 15938.727 | 91202.2555 | 75262.1925 | 15940.0631 | 106682.1449 | 90621.0277 | 16061.1173 | 121491.8082 | 105401.073 | 16090.7352 | 132890.8579 | 116594.0295 | 16296.8284 | 82174.1349 | 75942.6884 | 6231.4465 | 92579.8652 | 86301.1057 | 6278.7595 | 110676.3001 | 104169.5459 | 6506.7542 | 118917.9865 | 112421.9935 | 6495.993 | 130311.7078 | 123813.9721 | 6497.7357
| less: Incremental Rooftop PV Forecast | -1260.3697 | -60.9324 | -1199.4374 | -1681.0228 | -81.4678 | -1599.5551 | -2213.7108 | -107.491 | -2106.2198 | -2877.6602 | -139.9286 | -2737.7316 | -3693.2456 | -179.7778 | -3513.4678 | -36.9405 | -9.6303 | -27.3102 | -48.9325 | -12.2007 | -36.7317 | -63.9722 | -15.3581 | -48.6141 | -82.4636 | -19.1744 | -63.2892 | -104.89 | -23.7366 | -81.1534 | -1104.2645 | -94.7442 | -1009.5203 | -1475.285 | -126.7623 | -1348.5227 | -1945.9217 | -167.3838 | -1778.5378 | -2533.5505 | -218.0977 | -2315.4528 | -3257.0364 | -280.5279 | -2976.5084 | -1203.3474 | -129.0068 | -1074.3406 | -1602.0825 | -171.1009 | -1430.9816 | -2106.1786 | -224.1615 | -1882.017 | -2732.6311 | -289.9277 | -2442.7034 | -3500.2423 | -370.3185 | -3129.9238
| less: Load Resources providing Responsive Reserves | -935 | -935 | 0 | -935 | -935 | 0 | -935 | -935 | 0 | -935 | -935 | 0 | -935 | -935 | 0 | -1498 | -1402 | -96 | -1498 | -1402 | -96 | -1498 | -1402 | -96 | -1498 | -1402 | -96 | -1498 | -1402 | -96 | -1617 | -1576 | -41 | -1617 | -1576 | -41 | -1617 | -1576 | -41 | -1617 | -1576 | -41 | -1617 | -1576 | -41 | -1280 | -1230 | -50 | -1280 | -1230 | -50 | -1280 | -1230 | -50 | -1280 | -1230 | -50 | -1280 | -1230 | -50
| less: Load Resources providing Non-Spinning Reserves | -50 | -70 | 20 | -70 | -80 | 10 | -80 | -90 | 10 | -90 | -100 | 10 | -100 | -110 | 10 | -50 | -70 | 20 | -70 | -80 | 10 | -80 | -90 | 10 | -90 | -100 | 10 | -100 | -110 | 10 | -50 | -70 | 20 | -70 | -80 | 10 | -80 | -90 | 10 | -90 | -100 | 10 | -100 | -110 | 10 | -50 | -70 | 20 | -70 | -80 | 10 | -80 | -90 | 10 | -90 | -100 | 10 | -100 | -110 | 10
| less: Load Resources providing ERCOT Contingency Reserve Service (ECRS) | -300 | -350 | 50 | -330 | -385 | 55 | -360 | -420 | 60 | -390 | -460 | 70 | -420 | -505 | 85 | -300 | -350 | 50 | -330 | -385 | 55 | -360 | -420 | 60 | -390 | -460 | 70 | -420 | -505 | 85 | -300 | -350 | 50 | -330 | -385 | 55 | -360 | -420 | 60 | -390 | -460 | 70 | -420 | -505 | 85 | -300 | -350 | 50 | -330 | -385 | 55 | -360 | -420 | 60 | -390 | -460 | 70 | -420 | -505 | 85
| less: Controllable Load Resources not included in other adjustments | -20 | -20 | 0 | -40 | -40 | 0 | -60 | -60 | 0 | -80 | -80 | 0 | -100 | -100 | 0 | -20 | -20 | 0 | -40 | -40 | 0 | -60 | -60 | 0 | -80 | -80 | 0 | -100 | -100 | 0 | -20 | -20 | 0 | -40 | -40 | 0 | -60 | -60 | 0 | -80 | -80 | 0 | -100 | -100 | 0 | -20 | -20 | 0 | -40 | -40 | 0 | -60 | -60 | 0 | -80 | -80 | 0 | -100 | -100 | 0
| less: Emergency Response Service (10- and 30-min ramp products) | -2750 | -2600 | -150 | -2750 | -2600 | -150 | -2750 | -2600 | -150 | -2750 | -2600 | -150 | -2750 | -2600 | -150 | -2675 | -2750 | 75 | -2675 | -2750 | 75 | -2675 | -2750 | 75 | -2675 | -2750 | 75 | -2675 | -2750 | 75 | -2750 | -2600 | -150 | -2750 | -2600 | -150 | -2750 | -2600 | -150 | -2750 | -2600 | -150 | -2750 | -2600 | -150 | -2750 | -2600 | -150 | -2750 | -2600 | -150 | -2750 | -2600 | -150 | -2750 | -2600 | -150 | -2750 | -2600 | -150
| less: TDSP Standard Offer Load Management Programs | -303 | -303 | 0 | -303 | -303 | 0 | -303 | -303 | 0 | -303 | -303 | 0 | -303 | -303 | 0 | -74.8 | -74.8 | 0 | -74.8 | -74.8 | 0 | -74.8 | -74.8 | 0 | -74.8 | -74.8 | 0 | -74.8 | -74.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| less: Distribution Voltage Reduction | -1162 | -1162 | 0 | -1162 | -1162 | 0 | -1162 | -1162 | 0 | -1162 | -1162 | 0 | -1162 | -1162 | 0 | -1279 | -1279 | 0 | -1279 | -1279 | 0 | -1279 | -1279 | 0 | -1279 | -1279 | 0 | -1279 | -1279 | 0 | -1279 | -1279 | 0 | -1279 | -1279 | 0 | -1279 | -1279 | 0 | -1279 | -1279 | 0 | -1279 | -1279 | 0 | -1162 | -1162 | 0 | -1162 | -1162 | 0 | -1162 | -1162 | 0 | -1162 | -1162 | 0 | -1162 | -1162 | 0
| Firm Peak Load, MW | 88639.0572 | 75971.4696 | 12667.5876 | 98134.645 | 85583.1988 | 12551.4462 | 115225.1453 | 102744.4289 | 12480.7163 | 122195.3033 | 109892.3506 | 12302.9527 | 132240.4599 | 120483.0097 | 11757.4502 | 78123.5579 | 73550.7342 | 4572.8237 | 93575.1588 | 89065.4059 | 4509.7529 | 108443.2952 | 103662.6622 | 4780.633 | 120024.7268 | 114986.2895 | 5038.4373 | 126838.966 | 121531.6218 | 5307.3442 | 74810.0339 | 60001.8272 | 14808.2067 | 83640.9705 | 69175.4302 | 14465.5404 | 98590.2233 | 84428.6438 | 14161.5794 | 112752.2577 | 99087.9752 | 13664.2825 | 123367.8215 | 110143.5016 | 13224.3199 | 75408.7875 | 70381.6816 | 5027.1059 | 85345.7826 | 80633.0048 | 4712.7779 | 102878.1215 | 98383.3844 | 4494.7371 | 110433.3554 | 106500.0658 | 3933.2896 | 120999.4655 | 117736.6536 | 3262.8119
| Energy Efficiency Program Savings Forecast, included in the Base Load Forecast | 4048.5769 | 4048.5769 |  | 4426.829 | 4426.829 |  | 4805.9274 | 4805.9274 |  | 5185.4543 | 5185.4543 |  | 5566.1918 | 5566.1918 |  | 4048.5769 | 4048.5769 |  | 4426.829 | 4426.829 |  | 4805.9274 | 4805.9274 |  | 5185.4543 | 5185.4543 |  | 5566.1918 | 5566.1918 |  | 4048.5769 | 4048.5769 |  | 4426.829 | 4426.829 |  | 4805.9274 | 4805.9274 |  | 5185.4543 | 5185.4543 |  | 5566.1918 | 5566.1918 |  | 4048.5769 | 4048.5769 |  | 4426.829 | 4426.829 |  | 4805.9274 | 4805.9274 |  | 5185.4543 | 5185.4543 |  | 5566.1918 | 5566.1918
Expected Resource Capacity Available by Period, MW:
Operational Generation Capacity
| Installed Seasonal-rated Thermal Capacity (Nuclear, Fossil, and Biomass-Fueled), excluding Switchable Units | 65430.5 | 65430.5 | 0 | 66363.1 | 66363.1 | 0 | 66363.1 | 66363.1 | 0 | 66363.1 | 66363.1 | 0 | 66433.1 | 66433.1 | 0 | 68964.8 | 68964.8 | 0 | 69897.4 | 69897.4 | 0 | 69897.4 | 69897.4 | 0 | 69897.4 | 69897.4 | 0 | 69972.4 | 69972.4 | 0 | 66675.1 | 66675.1 | 0 | 66675.1 | 66675.1 | 0 | 67607.7 | 67607.7 | 0 | 67607.7 | 67607.7 | 0 | 67607.7 | 67607.7 | 0 | 66712.5 | 66712.5 | 0 | 67645.1 | 67645.1 | 0 | 67645.1 | 67645.1 | 0 | 67645.1 | 67645.1 | 0 | 67720.1 | 67720.1 | 0
| Hydroelectric, Peak Average Capacity Contribution | 533.737 | 530.284 | 3.453 | 533.737 | 530.284 | 3.453 | 533.737 | 530.284 | 3.453 | 533.737 | 530.284 | 3.453 | 533.737 | 530.284 | 3.453 | 516.4466 | 517.8453 | -1.3987 | 516.4466 | 517.8453 | -1.3987 | 516.4466 | 517.8453 | -1.3987 | 516.4466 | 517.8453 | -1.3987 | 516.4466 | 517.8453 | -1.3987 | 489.4918 | 489.5935 | -0.10167 | 489.4918 | 489.5935 | -0.10167 | 489.4918 | 489.5935 | -0.10167 | 489.4918 | 489.5935 | -0.10167 | 489.4918 | 489.5935 | -0.10167 | 470.3158 | 466.1848 | 4.131 | 470.3158 | 466.1848 | 4.131 | 470.3158 | 466.1848 | 4.131 | 470.3158 | 466.1848 | 4.131 | 470.3158 | 466.1848 | 4.131
| Switchable Capacity | 3678 | 3678 | 0 | 3678 | 3678 | 0 | 3678 | 3678 | 0 | 3678 | 3678 | 0 | 3678 | 3678 | 0 | 4016 | 4016 | 0 | 4016 | 4016 | 0 | 4016 | 4016 | 0 | 4016 | 4016 | 0 | 4016 | 4016 | 0 | 3886 | 3886 | 0 | 3886 | 3886 | 0 | 3886 | 3886 | 0 | 3886 | 3886 | 0 | 3886 | 3886 | 0 | 3834 | 3834 | 0 | 3834 | 3834 | 0 | 3834 | 3834 | 0 | 3834 | 3834 | 0 | 3834 | 3834 | 0
| less: Switchable Capacity Unavailable to ERCOT | -2184 | -2184 | 0 | -2340 | -2340 | 0 | -2189 | -2189 | 0 | -2189 | -2189 | 0 | -1880 | -1880 | 0 | -1387 | -1387 | 0 | -1549 | -1549 | 0 | -2064 | -2064 | 0 | -2120 | -2120 | 0 | -1780 | -1780 | 0 | -628 | -628 | 0 | -1351 | -1351 | 0 | -1513 | -1513 | 0 | -1674 | -1674 | 0 | -1730 | -1730 | 0 | -1080 | -1080 | 0 | -1064 | -1064 | 0 | -1214 | -1214 | 0 | -1214 | -1214 | 0 | -1231 | -1231 | 0
| Available Mothballed Capacity (Units with reported return probabilities ≥ 75%) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Capacity from Private Use Networks | 3431 | 3539 | -108 | 3431 | 3539 | -108 | 3431 | 3539 | -108 | 3681 | 3789 | -108 | 3681 | 3789 | -108 | 4150 | 4014 | 136 | 4150 | 4014 | 136 | 4150 | 4014 | 136 | 4400 | 4264 | 136 | 4400 | 4264 | 136 | 2947 | 2880 | 67 | 2837 | 2770 | 67 | 2837 | 2770 | 67 | 2837 | 2770 | 67 | 3087 | 3020 | 67 | 2968 | 2849 | 119 | 2968 | 2849 | 119 | 2968 | 2849 | 119 | 3218 | 3099 | 119 | 3218 | 3099 | 119
Inverter-Based Resources, Capacity Contribution based on Effective Load Carrying Capabilities (ELCCs)
| Coastal Wind | 1828.5163 | 987.7138 | 840.8025 | 1855.8413 | 1007.0913 | 848.75 | 1893.2047 | 941.4231 | 951.7816 | 1903.6024 | 917.7395 | 985.8629 | 1903.6024 | 917.7395 | 985.8629 | 1717.341 | 1717.341 | 0 | 1716.2467 | 1716.2467 | 0 | 1723.8037 | 1723.8037 | 0 | 1723.8037 | 1723.8037 | 0 | 1723.8037 | 1723.8037 | 0 | 1717.341 | 1717.341 | 0 | 1716.2467 | 1716.2467 | 0 | 1723.8037 | 1723.8037 | 0 | 1723.8037 | 1723.8037 | 0 | 1723.8037 | 1723.8037 | 0 | 1838.0127 | 1838.0127 | 0 | 1898.9777 | 1898.9777 | 0 | 1905.1664 | 1905.1664 | 0 | 1905.1664 | 1905.1664 | 0 | 1905.1664 | 1905.1664 | 0
| Panhandle Wind | 1640.5104 | 886.1582 | 754.3522 | 1665.0258 | 903.5433 | 761.4825 | 1698.5476 | 844.6271 | 853.9205 | 1707.8762 | 823.3786 | 884.4976 | 1707.8762 | 823.3786 | 884.4976 | 1540.766 | 1540.766 | 0 | 1539.7841 | 1539.7841 | 0 | 1546.5641 | 1546.5641 | 0 | 1546.5641 | 1546.5641 | 0 | 1546.5641 | 1546.5641 | 0 | 1540.766 | 1540.766 | 0 | 1539.7841 | 1539.7841 | 0 | 1546.5641 | 1546.5641 | 0 | 1546.5641 | 1546.5641 | 0 | 1546.5641 | 1546.5641 | 0 | 1649.0304 | 1649.0304 | 0 | 1703.727 | 1703.727 | 0 | 1709.2793 | 1709.2793 | 0 | 1709.2793 | 1709.2793 | 0 | 1709.2793 | 1709.2793 | 0
| Other Wind | 4715.5801 | 2547.2256 | 2168.3545 | 4786.0489 | 2597.1984 | 2188.8505 | 4882.4058 | 2427.8461 | 2454.5597 | 4909.2204 | 2366.7682 | 2542.4522 | 4909.2204 | 2366.7682 | 2542.4522 | 4434.2469 | 4434.2469 | 0 | 4431.4212 | 4431.4212 | 0 | 4450.9337 | 4450.9337 | 0 | 4450.9337 | 4450.9337 | 0 | 4450.9337 | 4450.9337 | 0 | 4434.2469 | 4434.2469 | 0 | 4431.4212 | 4431.4212 | 0 | 4450.9337 | 4450.9337 | 0 | 4450.9337 | 4450.9337 | 0 | 4450.9337 | 4450.9337 | 0 | 4745.8264 | 4745.8264 | 0 | 4903.2406 | 4903.2406 | 0 | 4919.2199 | 4919.2199 | 0 | 4919.2199 | 4919.2199 | 0 | 4919.2199 | 4919.2199 | 0
| Far West Solar Utility-Scale | 1838.5473 | 296.7332 | 1541.8141 | 1549.913 | 126.2346 | 1423.6784 | 1379.0634 | 0 | 1379.0634 | 1340.0837 | 0 | 1340.0837 | 1334.8838 | 0 | 1334.8838 | 118.5445 | 118.5445 | 0 | 97.3676 | 97.3676 | 0 | 90.5647 | 90.5647 | 0 | 88.6432 | 88.6432 | 0 | 88.6432 | 88.6432 | 0 | 118.5922 | 118.5922 | 0 | 97.4068 | 97.4068 | 0 | 90.6011 | 90.6011 | 0 | 88.6789 | 88.6789 | 0 | 88.6789 | 88.6789 | 0 | 1744.9259 | 1744.9259 | 0 | 1426.4295 | 1426.4295 | 0 | 1342.5387 | 1342.5387 | 0 | 1316.5105 | 1316.5105 | 0 | 1316.5105 | 1316.5105 | 0
| West Solar Utility-Scale | 1971.475 | 318.1871 | 1653.2879 | 1661.9723 | 135.3614 | 1526.6109 | 1478.7702 | 0 | 1478.7702 | 1436.9723 | 0 | 1436.9723 | 1431.3964 | 0 | 1431.3964 | 127.1153 | 127.1153 | 0 | 104.4073 | 104.4073 | 0 | 97.1125 | 97.1125 | 0 | 95.0522 | 95.0522 | 0 | 95.0522 | 95.0522 | 0 | 127.1153 | 127.1153 | 0 | 104.4073 | 104.4073 | 0 | 97.1125 | 97.1125 | 0 | 95.0522 | 95.0522 | 0 | 95.0522 | 95.0522 | 0 | 1871.0847 | 1871.0847 | 0 | 1529.5609 | 1529.5609 | 0 | 1439.6048 | 1439.6048 | 0 | 1411.6947 | 1411.6947 | 0 | 1411.6947 | 1411.6947 | 0
| Other Solar Utility-Scale | 6121.7679 | 988.0256 | 5133.7423 | 5160.7088 | 420.3203 | 4740.3885 | 4591.835 | 0 | 4591.835 | 4462.0452 | 0 | 4462.0452 | 4444.7312 | 0 | 4444.7312 | 394.2084 | 394.2084 | 0 | 323.7868 | 323.7868 | 0 | 301.1642 | 301.1642 | 0 | 294.7746 | 294.7746 | 0 | 294.7746 | 294.7746 | 0 | 394.7147 | 394.7147 | 0 | 324.2026 | 324.2026 | 0 | 301.551 | 301.551 | 0 | 295.1532 | 295.1532 | 0 | 295.1532 | 295.1532 | 0 | 5806.625 | 5806.625 | 0 | 4746.758 | 4746.758 | 0 | 4467.5932 | 4467.5932 | 0 | 4380.9784 | 4380.9784 | 0 | 4380.9784 | 4380.9784 | 0
| Energy Storage | 9262.486 | 9262.486 | 0 | 8312.4907 | 8312.4907 | 0 | 7589.9929 | 7589.9929 | 0 | 7076.4671 | 7076.4671 | 0 | 7076.4671 | 7076.4671 | 0 | 5303.4437 | 4922.4096 | 381.0342 | 4713.2353 | 4405.8633 | 307.372 | 4347.7615 | 4053.9076 | 293.8538 | 4220.0289 | 3944.422 | 275.6069 | 4220.0289 | 3944.422 | 275.6069 | 4721.8493 | 4721.8493 | 0 | 4246.1482 | 4246.1482 | 0 | 4025.5525 | 4025.5525 | 0 | 3944.4955 | 3944.4955 | 0 | 3944.4016 | 3944.4016 | 0 | 8957.6316 | 8957.6316 | 0 | 8067.6645 | 8067.6645 | 0 | 7322.9867 | 7322.9867 | 0 | 7075.6914 | 7075.6914 | 0 | 7075.6914 | 7075.6914 | 0
| RMR Capacity to be under Contract | 412 | 412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 412 | 412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 412 | 412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 412 | 412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Capacity Pending Retirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Operational Generation Capacity, Total | 98680.1201 | 86692.3137 | 11987.8064 | 96657.8379 | 85272.6241 | 11385.2138 | 95330.6566 | 83725.2733 | 11605.3833 | 94903.1042 | 83355.7375 | 11547.3667 | 95254.0144 | 83734.7375 | 11519.2769 | 90307.9123 | 89792.2768 | 515.6355 | 89957.0956 | 89515.1224 | 441.9733 | 89073.7509 | 88645.2958 | 428.4551 | 89129.647 | 88719.4388 | 410.2082 | 89544.647 | 89134.4388 | 410.2082 | 86836.2171 | 86769.3188 | 66.8983 | 84996.2088 | 84929.3105 | 66.8983 | 85543.3104 | 85476.4121 | 66.8983 | 85290.8732 | 85223.9748 | 66.8983 | 85484.7792 | 85417.8809 | 66.8983 | 99929.9525 | 99806.8214 | 123.131 | 98129.7739 | 98006.6429 | 123.131 | 96809.805 | 96686.674 | 123.131 | 96671.9565 | 96548.8254 | 123.131 | 96729.9565 | 96606.8254 | 123.131
Non-Synchronous Ties (Based on average net import contribution during the EEA events: summer 2023 and winter 2020/2021 EEA events) |  | 817.4 | 817.4 | 0 | 817.4 | 817.4 | 0 | 817.4 | 817.4 | 0 | 817.4 | 817.4 | 0 | 817.4 | 817.4 | 0 | 719.8 | 719.8 | 0 | 719.8 | 719.8 | 0 | 719.8 | 719.8 | 0 | 719.8 | 719.8 | 0 | 719.8 | 719.8 | 0 | 719.8 | 719.8 | 0 | 719.8 | 719.8 | 0 | 719.8 | 719.8 | 0 | 719.8 | 719.8 | 0 | 719.8 | 719.8 | 0 | 719.8 | 719.8 | 0 | 719.8 | 719.8 | 0 | 719.8 | 719.8 | 0 | 719.8 | 719.8 | 0 | 719.8 | 719.8 | 0
Planned Resource Additions (with Signed IA and Proof of Financial Commitment) and Retirements
| Thermal Resources (Nuclear, Fossil, and Biomass-Fueled) | 1118.8 | 1118.8 | 0 | 1334.8 | 1334.8 | 0 | 2008.8 | 2008.8 | 0 | 3308.8 | 3308.8 | 0 | 3308.8 | 3308.8 | 0 | 1183 | 1183 | 0 | 1304.8 | 1304.8 | 0 | 3351.8 | 3351.8 | 0 | 3351.8 | 3351.8 | 0 | 3351.8 | 3351.8 | 0 | 49.8 | 49.8 | 0 | 1183 | 1183 | 0 | 2001.8 | 2001.8 | 0 | 3351.8 | 3351.8 | 0 | 3351.8 | 3351.8 | 0 | 1183 | 1183 | 0 | 1304.8 | 1304.8 | 0 | 2001.8 | 2001.8 | 0 | 3351.8 | 3351.8 | 0 | 3351.8 | 3351.8 | 0
Inverter-Based Resources, Capacity Contribution based on Effective Load Carrying Capabilities (ELCCs)
| Coastal Wind | 0 | 0 | 0 | 63.1637 | 34.2764 | 28.8873 | 110.1376 | 54.7675 | 55.3701 | 110.7425 | 53.3897 | 57.3528 | 110.7425 | 53.3897 | 57.3528 | 0 | 0 | 0 | 58.4126 | 58.4126 | 0 | 100.2827 | 100.2827 | 0 | 100.2827 | 100.2827 | 0 | 100.2827 | 100.2827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58.6698 | 58.6698 | 0 | 100.2827 | 100.2827 | 0 | 100.2827 | 100.2827 | 0 | 0 | 0 | 0 | 64.6319 | 64.6319 | 0 | 110.8335 | 110.8335 | 0 | 110.8335 | 110.8335 | 0 | 110.8335 | 110.8335 | 0
| Panhandle Wind | 0 | 0 | 0 | 89.3677 | 48.4963 | 40.8714 | 91.167 | 45.3341 | 45.8329 | 91.6677 | 44.1936 | 47.4741 | 91.6677 | 44.1936 | 47.4741 | 0 | 0 | 0 | 82.6456 | 82.6456 | 0 | 83.0095 | 83.0095 | 0 | 83.0095 | 83.0095 | 0 | 83.0095 | 83.0095 | 0 | 0 | 0 | 0 | 82.6456 | 82.6456 | 0 | 83.0095 | 83.0095 | 0 | 83.0095 | 83.0095 | 0 | 83.0095 | 83.0095 | 0 | 0 | 0 | 0 | 91.445 | 91.445 | 0 | 91.743 | 91.743 | 0 | 91.743 | 91.743 | 0 | 91.743 | 91.743 | 0
| Other Wind | 23.5389 | 12.7151 | 10.8238 | 141.9433 | 77.027 | 64.9163 | 649.1656 | 322.8069 | 326.3587 | 692.3624 | 333.7926 | 358.5698 | 692.3624 | 333.7926 | 358.5698 | 22.1077 | 22.1077 | 0 | 320.5658 | 320.5658 | 0 | 626.9675 | 626.9675 | 0 | 626.9675 | 626.9675 | 0 | 626.9675 | 626.9675 | 0 | 0 | 0 | 0 | 92.2602 | 92.2602 | 0 | 591.0792 | 591.0792 | 0 | 626.9675 | 626.9675 | 0 | 626.9675 | 626.9675 | 0 | 23.6611 | 23.6611 | 0 | 257.226 | 257.226 | 0 | 692.9312 | 692.9312 | 0 | 692.9312 | 692.9312 | 0 | 692.9312 | 692.9312 | 0
| Far West Solar Utility-Scale | 112.8758 | 18.2176 | 94.6582 | 252.6511 | 20.5775 | 232.0736 | 224.8009 | 0 | 224.8009 | 355.0374 | 0 | 355.0374 | 353.6598 | 0 | 353.6598 | 12.7814 | 12.7814 | 0 | 15.8719 | 15.8719 | 0 | 23.9939 | 23.9939 | 0 | 23.4848 | 23.4848 | 0 | 23.4848 | 23.4848 | 0 | 0 | 0 | 0 | 10.4981 | 10.4981 | 0 | 14.7629 | 14.7629 | 0 | 23.4848 | 23.4848 | 0 | 23.4848 | 23.4848 | 0 | 124.2749 | 124.2749 | 0 | 232.5221 | 232.5221 | 0 | 355.6879 | 355.6879 | 0 | 348.792 | 348.792 | 0 | 348.792 | 348.792 | 0
| West Solar Utility-Scale | 542.7124 | 87.5913 | 455.1211 | 1217.3937 | 99.1521 | 1118.2416 | 2151.0784 | 0 | 2151.0784 | 2470.8919 | 0 | 2470.8919 | 2461.3042 | 0 | 2461.3042 | 67.7986 | 67.7986 | 0 | 119.9531 | 119.9531 | 0 | 156.9034 | 156.9034 | 0 | 163.4434 | 163.4434 | 0 | 163.4434 | 163.4434 | 0 | 13.0656 | 13.0656 | 0 | 55.687 | 55.687 | 0 | 128.7895 | 128.7895 | 0 | 160.1602 | 160.1602 | 0 | 163.4434 | 163.4434 | 0 | 734.8249 | 734.8249 | 0 | 1757.3062 | 1757.3062 | 0 | 2325.9502 | 2325.9502 | 0 | 2427.4268 | 2427.4268 | 0 | 2427.4268 | 2427.4268 | 0
| Other Solar Utility-Scale | 509.1932 | 82.1815 | 427.0117 | 2065.8338 | 168.2544 | 1897.5794 | 2936.3872 | 0 | 2936.3872 | 3213.4901 | 0 | 3213.4901 | 3295.2761 | 0 | 3295.2761 | 67.5001 | 67.5001 | 0 | 177.0682 | 177.0682 | 0 | 206.8356 | 206.8356 | 0 | 218.8234 | 218.8234 | 0 | 218.8234 | 218.8234 | 0 | 9.3666 | 9.3666 | 0 | 85.334 | 85.334 | 0 | 185.5553 | 185.5553 | 0 | 212.5644 | 212.5644 | 0 | 218.8234 | 218.8234 | 0 | 860.5577 | 860.5577 | 0 | 2483.0009 | 2483.0009 | 0 | 3066.1502 | 3066.1502 | 0 | 3249.92 | 3249.92 | 0 | 3249.92 | 3249.92 | 0
| Energy Storage | 3045.3448 | 3045.3448 | 0 | 7129.4572 | 7129.4572 | 0 | 9793.6035 | 9793.6035 | 0 | 10506.0975 | 10506.0975 | 0 | 10506.0975 | 10506.0975 | 0 | 3007.5219 | 2791.4418 | 216.0801 | 5275.2522 | 4931.2285 | 344.0237 | 6128.1852 | 5713.9971 | 414.188 | 6265.1564 | 5855.9838 | 409.1726 | 6265.1564 | 5855.9838 | 409.1726 | 597.7028 | 597.7028 | 0 | 2792.1525 | 2792.1525 | 0 | 4811.7704 | 4811.7704 | 0 | 5770.586 | 5770.586 | 0 | 5855.9914 | 5855.9914 | 0 | 4699.3518 | 4699.3518 | 0 | 8592.0245 | 8592.0245 | 0 | 10295.1648 | 10295.1648 | 0 | 10506.784 | 10506.784 | 0 | 10506.784 | 10506.784 | 0
| Unconfirmed Planned Retirements | 0 | 0 | 0 | -420 | -420 | 0 | -420 | -420 | 0 | -1390 | -1390 | 0 | -1390 | -1390 | 0 | 0 | 0 | 0 | -420 | -420 | 0 | -980 | -980 | 0 | -1390 | -1390 | 0 | -1390 | -1390 | 0 | 0 | 0 | 0 | -420 | -420 | 0 | -420 | -420 | 0 | -1390 | -1390 | 0 | -1390 | -1390 | 0 | 0 | 0 | 0 | -420 | -420 | 0 | -420 | -420 | 0 | -1390 | -1390 | 0 | -1390 | -1390 | 0
| Planned Generation Capacity Total, Net of Unconfirmed Planned Retirements | 5352.4652 | 4364.8504 | 987.6149 | 11874.6106 | 8492.0409 | 3382.5696 | 17545.1403 | 11805.312 | 5739.8284 | 19359.0895 | 12856.2734 | 6502.8161 | 19429.9102 | 12856.2734 | 6573.6368 | 4360.7097 | 4144.6296 | 216.0801 | 6934.5694 | 6590.5457 | 344.0237 | 9697.9777 | 9283.7897 | 414.188 | 9442.9678 | 9033.7951 | 409.1726 | 9442.9678 | 9033.7951 | 409.1726 | 669.935 | 669.935 | 0 | 3881.5773 | 3881.5773 | 0 | 7455.4366 | 7455.4366 | 0 | 8938.8552 | 8938.8552 | 0 | 9033.8028 | 9033.8028 | 0 | 7625.6705 | 7625.6705 | 0 | 14362.9565 | 14362.9565 | 0 | 18520.2608 | 18520.2608 | 0 | 19390.2307 | 19390.2307 | 0 | 19390.2307 | 19390.2307 | 0
Total Capacity |  | 104849.9853 | 91874.564 | 12975.4213 | 109349.8485 | 94582.065 | 14767.7835 | 113693.1969 | 96347.9852 | 17345.2117 | 115079.5937 | 97029.4109 | 18050.1828 | 115501.3246 | 97408.4109 | 18092.9137 | 95388.422 | 94656.7064 | 731.7155 | 97611.465 | 96825.468 | 785.997 | 99491.5287 | 98648.8855 | 842.6432 | 99292.4148 | 98473.0339 | 819.3809 | 99707.4148 | 98888.0339 | 819.3809 | 88225.9521 | 88159.0538 | 66.8983 | 89597.5862 | 89530.6878 | 66.8983 | 93718.5471 | 93651.6487 | 66.8983 | 94949.5284 | 94882.63 | 66.8983 | 95238.382 | 95171.4837 | 66.8983 | 108275.423 | 108152.292 | 123.131 | 113212.5304 | 113089.3993 | 123.131 | 116049.8658 | 115926.7348 | 123.131 | 116781.9871 | 116658.8561 | 123.131 | 116839.9871 | 116716.8561 | 123.131
| Reserve Margin | 0.18289 | 0.20933 | -0.026443 | 0.11428 | 0.10515 | 0.0091363 | -0.013295 | -0.062256 | 0.048961 | -0.058232 | -0.11705 | 0.058818 | -0.12658 | -0.19152 | 0.064936 | 0.22099 | 0.28696 | -0.065964 | 0.043134 | 0.087128 | -0.043993 | -0.082548 | -0.048366 | -0.034182 | -0.17273 | -0.14361 | -0.029123 | -0.21391 | -0.18632 | -0.027587 | 0.17933 | 0.46927 | -0.28994 | 0.071216 | 0.29426 | -0.22304 | -0.049413 | 0.10924 | -0.15865 | -0.15789 | -0.042441 | -0.11545 | -0.22801 | -0.13593 | -0.092081 | 0.43585 | 0.53665 | -0.10081 | 0.32652 | 0.40252 | -0.076004 | 0.12803 | 0.17832 | -0.050284 | 0.057488 | 0.095388 | -0.037899 | -0.034376 | -0.0086617 | -0.025714
[(Total Resources - Firm Load Forecast) / Firm Load Forecast]
*Total Load consists of the following forecast components: Base Economic, Electric Vehicle Forecast, Large Flexible Loads forecast, and ERCOT Adjustments to Transmission Service Provider (TSP) forecasts. The ERCOT adjustments to TSP-provided forecasts comprise the following: ‒ 180-Day Delay for Contracts and Officer Letter Load: ERCOT applies a 180-day delay to all contract and officer letter load forecasts provided by TSPs. ‒ All new data center load requests are reduced to 49.8% of the original request. ‒ All Officer Letter Load requests are reduced to 55.4% of the original request. The rooftop PV forecast is shown as a separate adjustment to indicate the magnitude of this Distributed Generation resource.

## Load
Input cells (non-formulas) | Calculated cells |  | Month--> | 8 | 8 | 8 | 8 | 8 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 10 | 10 | 10 | 10 | 10
|  |  |  | Summer | Summer | Summer | Summer | Summer | Winter | Winter | Winter | Winter | Winter | Spring | Spring | Spring | Spring | Spring | Fall | Fall | Fall | Fall | Fall
RiskPeriod | Metric | Metric, Worksheets Precedent | Metric, Worksheets Dependent | 2026 | 2027 | 2028 | 2029 | 2030 | 2026/2027 | 2027/2028 | 2028/2029 | 2029/2030 | 2030/2031 | 2026 | 2027 | 2028 | 2029 | 2030 | 2026 | 2027 | 2028 | 2029 | 2030
Peak Load Hour: | Base Peak Demand + Rooftop PV Forecast (for Peak Load Hour) | LongTermLoadForecast |  | 86531.6631 | 87650.5351 | 88747.0227 | 89542.9286 | 90227.8022 | 71890.349 | 73974.5538 | 76107.7205 | 78328.869 | 80681.9041 | 76009.3224 | 77596.9617 | 79168.8183 | 80595.883 | 81851.1638 | 73343.3935 | 74903.6727 | 76441.9989 | 77822.9807 | 79028.8078
Peak Load Hour: | Date, HE | LongTermLoadForecast |  | 08/04/26 HE17 | 08/04/27 HE17 | 08/04/28 HE17 | 08/04/29 HE17 | 08/04/30 HE17 | 01/24/27 HE8 | 01/24/28 HE8 | 01/24/29 HE8 | 01/24/30 HE8 | 01/24/31 HE8 | 05/23/26 HE17 | 05/23/27 HE17 | 05/23/28 HE17 | 05/23/29 HE17 | 05/23/30 HE17 | 10/03/26 HE17 | 10/03/27 HE17 | 10/03/28 HE17 | 10/03/29 HE17 | 10/03/30 HE17
Peak Load Hour: | ercot_net | LongTermLoadForecast |  | 94159.0572 | 103724.645 | 120875.1453 | 127905.3033 | 138010.4599 | 84020.3579 | 99541.9588 | 114470.0952 | 126111.5268 | 132985.766 | 80826.0339 | 89726.9705 | 104736.2233 | 118958.2577 | 129633.8215 | 80970.7875 | 90977.7826 | 108570.1215 | 116185.3554 | 126811.4655
Peak Load Hour: | less: Incremental Rooftop PV Forecast | LongTermLoadForecast | Seasonal Summary | -1260.3697 | -1681.0228 | -2213.7108 | -2877.6602 | -3693.2456 | -36.9405 | -48.9325 | -63.9722 | -82.4636 | -104.89 | -1104.2645 | -1475.285 | -1945.9217 | -2533.5505 | -3257.0364 | -1203.3474 | -1602.0825 | -2106.1786 | -2732.6311 | -3500.2423
Peak Load Hour: | Total Seasonal Load based on normal weather conditions* | LongTermLoadForecast | Seasonal Summary | 95419.4269 | 105405.6678 | 123088.8561 | 130782.9635 | 141703.7055 | 84057.2984 | 99590.8913 | 114534.0674 | 126193.9904 | 133090.6559 | 81930.2985 | 91202.2555 | 106682.1449 | 121491.8082 | 132890.8579 | 82174.1349 | 92579.8652 | 110676.3001 | 118917.9865 | 130311.7078