## Cover
Monthly Outlook for Resource Adequacy (MORA)
Reporting Month: November 2026

## Monthly Outlook
Low Wind and BESS Risk Profile
Deterministic results based on normal system conditions for the hour with highest risk of reserve shortages
|  | Loads and Resources (MW) | Hour with the Highest Reserve Shortage Risk (Hour Ending 7:00 p.m., CST)
|  | Load Based on Average Weather [1] | 65445.8728
Generation Resource Stack
|  | Dispatchable [2] | 81477.5968
|  | Thermal, excluding RMR and other Emergency Generation Agreements | 72830.79
|  | Energy Storage [3] | 8239.616
|  | Hydro | 407.1908
|  | Expected Thermal Outages | 22108
|  | Planned | 6152
|  | Unplanned | 15956
|  | Total Available Dispatchable | 59369.5968
Non-Dispatchable [4]
|  | Wind | 16691.1458
|  | Solar | 0
|  | Total Available Non-Dispatchable | 16691.1458
|  | Non-Synchronous Ties, Net Imports | 719.8
|  | Total Available Resources (Normal Conditions) | 76780.5426
Emergency Resources
Available prior to an Energy Emergency Alert [5]
|  | Emergency Response Service | 1812
|  | Distribution Voltage Reduction | 1162
|  | Total Available prior to an Energy Emergency Alert | 2974
Available during an Energy Emergency Alert
|  | LRs providing Responsive Reserves | 1490
|  | LRs providing Non-spin | 81.02
|  | LRs providing ECRS | 306
|  | TDSP Load Management Programs | 0
|  | RMR and Other Resource Agreement Capacity Units | 733.3
|  | Total Available during an Energy Emergency Alert | 2610.32
|  | Total Emergency Resources | 5584.32
|  | Capacity Available for Operating Reserves, Normal Conditions | 14308.6698
|  | Capacity Available for Operating Reserves, Emergency Conditions | 16918.9898
Less than 2,500 MW indicates risk of EEA Level 1
Less than 1,500 MW indicates risk of EEA Level 3 Load Shed
[1] The Hour Ending 7:00 p.m. load value comes from ERCOT’s monthly load forecast. The load assumes average weather conditions for the reporting month and includes new Large Loads expected to be energized by the forecast month.
[2] Dispatchable resources comprise nuclear, coal, gas, biomass and energy storage. Non-dispatchable resources comprise wind and solar. Dispatchable in this context means that the resource can both increase or decrease output based on ERCOT dispatch instructions.
[3] See the Background tab for a description of battery storage system capacity contribution modeling.
[4] Wind and solar values for Hour Ending 7:00 p.m. represent the 50th percentile values from hourly synthetic generation profiles used in the PRRM. See the Background tab for more information.
[5] Although crypto-mining load may self-curtail beyond forecasted levels in response to an imminent energy emergency, such load reduction is not dispatchable or controllable, and is therefore not considered an emergency resource for this scenario.

## Capacity by Resource Category
Hour with the Highest Reserve Shortage Risk (Hour Ending 7:00 p.m., CST)
Operational Resources, MW [1] | Installed Capacity Rating [2] | Expected Available Capacity [3]
Thermal | 88972.23 | 73377.5
Natural Gas | 69494.39 | 55264
Combined-cycle | 46853.35 | 35727.1
Combustion Turbine | 11148.38 | 8585.1
Internal Combustion Engine | 1297.06 | 1127.8
Steam Turbine | 10195.6 | 9824
Compressed Air Energy Storage | 0 | 0
Coal | 13705.39 | 12718
Nuclear | 5268 | 5064.2
Diesel | 504.45 | 331.3
Renewable, Intermittent [6] | 80822.43 | 16691.1458
Solar | 40168.51 | 0
Wind | 40653.92 | 16691.1458
Coastal | 5871.96 | 2414.8832
Panhandle | 4832.83 | 1989.9221
Other | 29949.13 | 12286.3405
Renewable, Other | 717.45 | 533.9908
Biomass | 138.25 | 126.8
Hydroelectric [4] | 579.2 | 407.1908
Energy Storage | 20965.52 | 7853.7754
Batteries | 20965.52 | 7853.7754
Other | 0 | 0
DC Tie Net Imports | 1220 | 719.8
Planned Resources [5]
Thermal | 59.89 | 59.79
Natural Gas | 39.99 | 39.99
Combined-cycle | 0 | 0
Combustion Turbine | 0 | 0
Internal Combustion Engine | 39.99 | 39.99
Steam Turbine | 0 | 0
Compressed Air Energy Storage | 0 | 0
Diesel | 19.9 | 19.8
Renewable, Intermittent [6] | 359.63 | 0
Solar | 359.63 | 0
Wind | 0 | 0
Coastal | 0 | 0
Panhandle | 0 | 0
Other | 0 | 0
Energy Storage | 1015.39 | 385.8406
Batteries | 1015.39 | 385.8406
Other | 0 | 0
Total Resources, MW | 194132.54 | 99621.8426

## PRRM Percentile Results
Probabilistic Reserve Risk Model (PRRM) Percentile Results
Gross Demand by Hour, MW (Accounts for rooftop solar, electric vehicle, and Large Load electricity consumption adjustments; excludes demand response program deployments)
| Percentiles | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| 0 | 50264.2427 | 49170.0368 | 48614.6863 | 48631.2824 | 49436.489 | 51753.0264 | 55022.1894 | 56530.2187 | 56593.4663 | 57238.1231 | 58230.1505 | 57676.3466 | 56894.1287 | 56749.5783 | 56785.6367 | 56952.4743 | 57774.9301 | 59079.0322 | 60136.5187 | 60388.0242 | 60637.528 | 59480.0216 | 56868.407 | 53946.2104
| 0.1 | 52065.2497 | 50931.8376 | 50356.5884 | 50373.7792 | 51207.8369 | 53607.3777 | 56993.6773 | 58555.7406 | 58621.2543 | 59289.0097 | 60316.5822 | 59742.935 | 58932.6897 | 58782.9599 | 58820.3103 | 58993.1259 | 59845.0509 | 61195.88 | 62291.257 | 62551.7742 | 62810.2179 | 61611.2371 | 58906.0464 | 55879.1452
| 0.2 | 55163.6527 | 54584.7127 | 54446.5885 | 54665.1846 | 55231.3331 | 56517.8634 | 58168.5207 | 60108.5026 | 61811.5794 | 63010.6219 | 63388.0802 | 62910.0725 | 62249.9568 | 61542.6329 | 60757.9142 | 60585.1872 | 61269.2131 | 62686.7196 | 63832.1911 | 63788.2864 | 63969.2587 | 62582.0334 | 61174.2557 | 59719.9795
| 0.3 | 56025.1343 | 55437.1531 | 55296.8719 | 55518.8817 | 56093.8716 | 57400.4935 | 59076.9289 | 61047.2071 | 62776.8806 | 63994.6483 | 64378.0014 | 63892.5286 | 63222.1041 | 62503.734 | 61706.7604 | 61531.336 | 62226.0443 | 63665.6877 | 64829.0478 | 64784.4575 | 64968.256 | 63559.3666 | 62129.6038 | 60652.6165
| 0.4 | 56813.9309 | 56217.6713 | 56075.4149 | 56300.5506 | 56883.6359 | 58208.6542 | 59908.6926 | 61906.7111 | 63660.7372 | 64895.6503 | 65284.4007 | 64792.0928 | 64112.2291 | 63383.7449 | 62575.5505 | 62397.6562 | 63102.1455 | 64562.0581 | 65741.7976 | 65696.5795 | 65882.9657 | 64454.2401 | 63004.3472 | 61506.5648
| 0.5 | 57640.5265 | 57035.5918 | 56891.2657 | 57119.6769 | 57711.2457 | 59055.5418 | 60780.3144 | 62807.4024 | 64586.9482 | 65839.8282 | 66234.2346 | 65734.7641 | 65045.0089 | 64305.9258 | 63485.9729 | 63305.4904 | 64020.2294 | 65501.3825 | 66698.2862 | 66652.4102 | 66841.5083 | 65391.9959 | 63921.0083 | 62401.4344
| 0.6 | 58540.9408 | 57926.5563 | 57779.9757 | 58011.9549 | 58612.7647 | 59978.0604 | 61729.776 | 63788.5295 | 65595.8739 | 66868.3255 | 67268.893 | 66761.6201 | 66061.0902 | 65310.4617 | 64477.7001 | 64294.3982 | 65020.3023 | 66524.5928 | 67740.1936 | 67693.601 | 67885.653 | 66413.4975 | 64919.5312 | 63376.2198
| 0.7 | 59574.8071 | 58949.5723 | 58800.403 | 59036.4791 | 59647.8995 | 61037.3071 | 62819.959 | 64915.0713 | 66754.3344 | 68049.2582 | 68456.8999 | 67940.6683 | 67227.7666 | 66463.8816 | 65616.413 | 65429.8739 | 66168.5979 | 67699.455 | 68936.524 | 68889.1085 | 69084.5523 | 67586.3977 | 66066.0471 | 64495.4799
| 0.8 | 60805.3783 | 60167.2287 | 60014.9781 | 60255.9306 | 60879.9805 | 62298.0875 | 64117.5617 | 66255.9504 | 68133.2052 | 69454.8768 | 69870.9387 | 69344.0439 | 68616.4166 | 67836.7528 | 66971.779 | 66781.3868 | 67535.3697 | 69097.8481 | 70360.4699 | 70312.075 | 70511.5558 | 68982.4555 | 67430.7007 | 65827.692
| 0.9 | 62325.5564 | 61736.4202 | 61547.7869 | 61938.5455 | 62688.9562 | 64149.2006 | 66022.7383 | 68224.6666 | 70157.7018 | 71373.8887 | 71947.07 | 71404.5191 | 70655.2712 | 69852.4407 | 68961.7652 | 68765.7157 | 69542.1024 | 71005.5571 | 72451.147 | 72334.1058 | 71984.5133 | 70656.9427 | 68829.8886 | 67220.6796
| 1 | 65934.3904 | 65385.7291 | 65151.3786 | 65718.283 | 67246.7845 | 70411.3719 | 74700.695 | 75960.2944 | 75752.8039 | 75724.4258 | 76653.7539 | 76987.8858 | 76469.2437 | 76033.6083 | 75237.4624 | 74208.7496 | 74001.179 | 75332.4194 | 77211.9241 | 76819.1783 | 75752.9981 | 74675.3117 | 72398.0561 | 70794.4336
Solar Generation by Hour, MW
| Percentiles | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-09 | 0.93031 | 351.8205 | 1446.789 | 2047.9732 | 2877.0316 | 3262.9442 | 2998.4528 | 2262.4345 | 1381.335 | 2512.0941 | 1.0174 | 0 | 0 | 0 | 0 | 0 | 0
| 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 8.6827e-05 | 252.629 | 4396.0822 | 4589.9891 | 6439.1338 | 8814.0539 | 11504.121 | 12927.3121 | 12227.1088 | 10455.7761 | 8862.2251 | 61.2931 | 0 | 0 | 0 | 0 | 0 | 0
| 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00081293 | 552.6057 | 6321.6028 | 7504.8575 | 9736.0145 | 12232.7957 | 14847.2489 | 16350.6413 | 15895.039 | 14004.6955 | 10686.7245 | 106.4418 | 0 | 0 | 0 | 0 | 0 | 0
| 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0048911 | 894.4309 | 7982.3748 | 10773.1247 | 12874.6517 | 15142.0701 | 17409.0617 | 18743.3773 | 18636.0583 | 16926.2778 | 12115.1569 | 151.8806 | 0 | 0 | 0 | 0 | 0 | 0
| 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0.023171 | 1307.4963 | 9704.9716 | 13926.8032 | 15768.1256 | 17709.4368 | 19721.885 | 20959.9003 | 21078.6732 | 19381.3185 | 13275.413 | 206.2261 | 0 | 0 | 0 | 0 | 0 | 0
| 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0.089396 | 1794.6718 | 11372.1917 | 17250.8906 | 19051.9685 | 20337.7987 | 21846.0897 | 22955.3291 | 23260.8989 | 21650.9578 | 14328.6137 | 273.9766 | 0 | 0 | 0 | 0 | 0 | 0
| 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27667 | 2404.4933 | 13296.4905 | 20842.6305 | 22147.8279 | 22908.9725 | 23934.4471 | 24910.9428 | 25408.1074 | 23880.4076 | 15413.4897 | 358.2894 | 0 | 0 | 0 | 0 | 0 | 0
| 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0.77359 | 3159.3126 | 15444.331 | 24452.7572 | 25352.3734 | 25503.4145 | 26130.1385 | 26868.9259 | 27478.2253 | 25975.7941 | 16581.3019 | 476.9163 | 0 | 0 | 0 | 0 | 0 | 0
| 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0295 | 4246.2477 | 18298.6807 | 28550.9041 | 28844.3892 | 28300.4032 | 28356.0318 | 28872.7218 | 29590.9763 | 28085.1352 | 17907.8382 | 673.3742 | 0 | 0 | 0 | 0 | 0 | 0
| 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9979 | 6081.0293 | 22138.1544 | 32990.4456 | 32967.5027 | 31554.679 | 31104.5514 | 31490.1226 | 32236.1189 | 30616.9007 | 19632.9918 | 1042.672 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | 0 | 0 | 0 | 0 | 0 | 0 | 63.8953 | 11244.0946 | 30712.5874 | 38863.0651 | 39185.1047 | 37192.9817 | 36657.2905 | 36935.7653 | 36752.0473 | 34376.5114 | 24574.9557 | 2697.9345 | 0 | 0 | 0 | 0 | 0 | 0
Wind Generation by Hour, MW
| Percentiles | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| 0 | 387.7777 | 506.5499 | 593.4529 | 503.9997 | 716.7406 | 830.1733 | 754.0566 | 631.5514 | 598.0285 | 556.4545 | 430.7537 | 493.1807 | 740.6064 | 625.2381 | 329.131 | 251.1325 | 509.4213 | 379.1044 | 315.4155 | 389.4789 | 380.0734 | 499.2194 | 346.075 | 434.9457
| 0.1 | 8926.1427 | 8863.913 | 8707.4655 | 8486.7205 | 8241.9812 | 8060.0931 | 7555.8669 | 7208.2273 | 4166.6955 | 6078.9367 | 3415.1333 | 6008.28 | 5062.5108 | 4984.8981 | 4813.2833 | 4459.2989 | 4484.6885 | 5128.4404 | 6208.5519 | 7610.6549 | 8192.3984 | 10254.3856 | 8656.5666 | 8612.1798
| 0.2 | 12442.678 | 12373.5281 | 12140.8128 | 11857.938 | 11593.3894 | 11279.5193 | 10712.7771 | 10252.5471 | 6562.7276 | 8853.5983 | 5909.8263 | 8858.7282 | 7196.0531 | 7109.8805 | 6851.578 | 6358.2692 | 6379.4833 | 7294.4012 | 8805.3894 | 10883.9554 | 11452.8077 | 14259.8711 | 12678.9608 | 12521.5881
| 0.3 | 15011.5806 | 14752.9116 | 14577.7096 | 14236.0914 | 13948.9716 | 13641.1364 | 13109.367 | 12542.0067 | 8901.1331 | 11270.1262 | 8538.2057 | 11241.3828 | 9069.2206 | 8985.5184 | 8686.9038 | 8179.4134 | 8178.2553 | 9218.3472 | 10987.2502 | 13362.3621 | 13933.2565 | 17322.2399 | 15522.6779 | 15503.7901
| 0.4 | 17106.3815 | 16964.8451 | 16724.18 | 16309.3143 | 15963.4314 | 15701.5583 | 15113.5181 | 14539.0998 | 11347.0609 | 13391.0244 | 11230.51 | 13429.2602 | 10936.2025 | 10843.7869 | 10553.9201 | 10010.7558 | 9973.2943 | 11069.5449 | 12981.0811 | 15596.5415 | 16100.0378 | 19924.4901 | 18125.6091 | 18083.819
| 0.5 | 19152.0817 | 19025.5501 | 18664.8628 | 18293.4354 | 17929.4335 | 17573.2557 | 17045.3462 | 16523.9267 | 13829.5783 | 15438.0431 | 14262.0002 | 15488.0826 | 12923.0482 | 12789.3932 | 12431.5408 | 11874.2492 | 11804.7269 | 12967.2426 | 14983.466 | 17634.1351 | 18112.0981 | 22182.6985 | 20457.2627 | 20335.0828
| 0.6 | 21246.1568 | 21047.7034 | 20705.3983 | 20313.3226 | 19936.7068 | 19538.4894 | 18981.4869 | 18442.7228 | 16407.1584 | 17459.505 | 17155.2925 | 17708.6233 | 15111.2677 | 15019.848 | 14528.305 | 13960.5999 | 13852.352 | 15020.7411 | 17107.429 | 19688.2519 | 20197.0632 | 24200.5878 | 22377.9057 | 22211.3593
| 0.7 | 23289.0482 | 23103.5163 | 22714.4618 | 22271.208 | 21887.551 | 21523.0969 | 20997.737 | 20455.4731 | 19165.1392 | 19652.1378 | 20305.0454 | 19901.8984 | 17481.3043 | 17390.0737 | 16953.8547 | 16297.3166 | 16247.3717 | 17504.1235 | 19499.9477 | 21801.2307 | 22300.8019 | 26108.398 | 24174.5479 | 23965.3572
| 0.8 | 25450.708 | 25241.1415 | 24845.7436 | 24430.8302 | 24003.2109 | 23604.8378 | 23154.7383 | 22762.3215 | 22137.5299 | 22210.9318 | 23529.6887 | 22530.0302 | 20505.3407 | 20443.589 | 19980.9276 | 19370.623 | 19222.554 | 20599.3234 | 22332.2107 | 24341.7716 | 24748.3941 | 27947.8689 | 25903.717 | 25748.444
| 0.9 | 27984.7682 | 27892.0323 | 27455.6556 | 27057.1681 | 26655.8121 | 26248.4859 | 25801.4023 | 25634.1358 | 25489.512 | 25722.6827 | 27048.3542 | 26061.8804 | 24694.4856 | 24617.5928 | 24086.2164 | 23717.8703 | 23714.7436 | 24679.3214 | 26079.8923 | 27420.6498 | 27784.9387 | 29845.9707 | 27444.5824 | 27288.9134
| 1 | 34440.9566 | 34717.8459 | 34414.6313 | 34154.0008 | 33900.4316 | 33927.386 | 34205.8243 | 33974.2519 | 32388.4089 | 34073.4159 | 32867.8251 | 34446.0174 | 33993.2357 | 34161.0924 | 34149.0369 | 34265.9383 | 34247.5191 | 34353.1636 | 34469.4503 | 34719.4459 | 34634.4667 | 34676.1235 | 29817.2872 | 29897.685
Unplanned Thermal Outages-Daily, MW
| Percentiles | 1: Unplanned Thermal Outages
| 0 | 1: 11225
| 0.1 | 1: 13358
| 0.2 | 1: 14309
| 0.3 | 1: 15051
| 0.4 | 1: 15722
| 0.5 | 1: 16349
| 0.6 | 1: 17015
| 0.7 | 1: 17784
| 0.8 | 1: 18592
| 0.9 | 1: 19897
| 1 | 1: 23128

## Low Wind and BESS Risk Profile
Risk Profile for Combined Low Wind and Limited Battery Energy Storage System Availability
Background and Methodology
Variability in wind generation represents the greatest risk factor for declaring an EEA in November. To create the low wind generation risk profile for Hour Ending (HE) 7:00 p.m. on the November peak load day, the model's hourly wind generation probability distributions are replaced with fixed values corresponding to a range of percentile values. The percentile values come from the base simulation, and reflect the impact of the South Texas transmission interface constraint. BESS availability is also fixed at 4,394 MW for all the sensitivity simulations reflecting an extremely low State of Charge (SOC). This value represents a reasonable fleet-wide minimum hourly-average operational limit (20%) that could be reached due to one or a combination of such factors as sudden generation loss, sustained low solar and wind generation during the afternoon charging period, or some other grid disruption event. This level is about 2.3 GW less than the amount expected under typical grid conditions for this hour. All 10,000 model runs are restricted to the fixed wind generation and BESS availaiblity values. No other changes have been made to the model, so probabilistic impacts of other variables such as loads, solar generation, and thermal unplanned outages are reflected in the simulation results.
Simulation Results
The following chart shows the relationship between EEA / EEA3 (with load shed) probabilities and the level of fixed wind generation based on percentile values. The percentiles represent the percentage of outcomes above the given values. For example, the 5th percentile indicates that 95% of all values are above a 4,497 MW wind output level. Note that the zero-percentile value reflects the minimum amount from the PRRM simulation for Hour Ending 7:00 p.m. (315 MW), rather than a zero MW outcome.